Additional Information For

Enhancing Automated Seizure Detection via Self-Calibrating Spatial-Temporal EEG Features with SC-LSTM

Additional Tables 1-121

Additional Table 1

Proposed model architecture

| No | Layer | Input Shape | Output Shape | Notes |
| --- | --- | --- | --- | --- |
| 1 | Conv1D 3×1, 18 | (C, l) | (18, l) | stride=1, padding=1 |
| 2 | Unsqueeze for Conv | (18, l) | (18, l,1) |  |
| 3 | Permute for Conv | (18, l,1) | (1,l,18) |  |
| 4 | Conv2D 3×3, 128 | (1,l,18) | (128,l/2,9) | stride=2, padding=1 |
| 5 | MaxPooling2D | (128,l/2,9) | (128,l/4,4) | kernel=2, stride=2 |
| 6 | Self-Calibrated Conv | (128,l/4,4) | (128,l/4,4) | kernel=3, stride=1, padding=1 |
| 7 | Conv2D 3×3, 64 | (128,l/4,4) | (64,l/4,4) | stride=1, padding=1 |
| 8 | MaxPooling2D | (64,l/4,4) | (64,l/8,2) | kernel=2, stride=2 |
| 9 | Spatial Channel Conv | (64,l/8,2) | (64,l/8,2) | kernel=3, stride=1, padding=1 |
| 10 | Conv2D 3×3, 32 | (64,l/8,2) | (32,l/8,2) |  |
| 11 | MaxPooling2D | (32,l/8,2) | (32,l/16,1) | kernel=2, stride=2 |
| 12 | Flatten | (32,l/16,1) | (32,l×2) |  |
| 13 | FC Layer for Conv | (l×2) | (128) | output features=128 |
| 14 | Permute for Bi-LSTM | (C, l) | (l,C) |  |
| 15 | Bi-LSTM | (l,C) | (l,256) | input size=C, hidden size=128 |
| 16 | Mean for Bi-LSTM | (l,256) | (256) |  |
| 17 | FC Layer for Bi-LSTM | (256) | (128) | output features=128 |
| 18 | Concat | 2×(128) | (256) |  |
| 19 | FC Layer | (256) | (1) |  |
| Total params: 1083931+16384×l/64-1+1078×(C-1) |  |  |  |  |
| C denotes the number of channels in the input EEG signal, and l represents the number of data points in the input EEG signal. |  |  |  |  |

Additional Table 2

Summary of the epileptic seizure dataset annotated by Expert A

| Chunk Window | 1 | 2 | 5 | 10 | 20 | 10000 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 781 | 1540 | 3861 | 7699 | 14828 | 90805 |
| 2 | 781 | 1540 | 3860 | 7386 | 12619 | 45214 |
| 5 | 781 | 1539 | 3471 | 5833 | 9181 | 17820 |
| 10 | 780 | 1408 | 2840 | 4474 | 6139 | 8742 |
| 20 | 650 | 1129 | 2104 | 2897 | 3510 | 4174 |

Additional Table 3

Summary of the epileptic seizure dataset annotated by Expert B

| Chunk Window | 1 | 2 | 5 | 10 | 20 | 10000 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 790 | 1580 | 3950 | 7871 | 15081 | 121393 |
| 2 | 790 | 1580 | 3945 | 7519 | 13580 | 60526 |
| 5 | 790 | 1576 | 3634 | 6420 | 10472 | 23979 |
| 10 | 786 | 1476 | 3149 | 5129 | 6976 | 11787 |
| 20 | 690 | 1257 | 2419 | 3325 | 4256 | 5701 |

Additional Table 4

Summary of the epileptic seizure dataset annotated by Expert C

| Chunk Window | 1 | 2 | 5 | 10 | 20 | 10000 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 954 | 1886 | 4704 | 9397 | 17541 | 95645 |
| 2 | 954 | 1886 | 4695 | 8707 | 14738 | 47589 |
| 5 | 954 | 1878 | 4091 | 6761 | 10452 | 18773 |
| 10 | 924 | 1667 | 3281 | 5060 | 6898 | 9147 |
| 20 | 743 | 1272 | 2362 | 3236 | 3812 | 4312 |

Additional Table 5

Sample size of each fold in five-fold cross validation on Helsinki University Hospital dataset

(Expert=A; negative : positive)

| Window | Chunk | Fold 1 | Fold 2 | Fold 3 | Fold 4 | Fold 5 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 80 : 77 | 79 : 77 | 79 : 77 | 79 : 77 | 79 : 77 |
| 1 | 2 | 154 : 154 | 154 : 154 | 154 : 154 | 154 : 154 | 154 : 154 |
| 1 | 5 | 388 : 385 | 387 : 385 | 387 : 385 | 387 : 385 | 387 : 385 |
| 1 | 10 | 770 : 770 | 770 : 770 | 770 : 770 | 770 : 770 | 770 : 769 |
| 1 | 20 | 1483 : 1483 | 1483 : 1483 | 1483 : 1483 | 1482 : 1483 | 1483 : 1482 |
| 2 | 1 | 80 : 77 | 79 : 77 | 79 : 77 | 79 : 77 | 79 : 77 |
| 2 | 2 | 154 : 154 | 154 : 154 | 154 : 154 | 154 : 154 | 154 : 154 |
| 2 | 5 | 387 : 385 | 387 : 385 | 387 : 385 | 387 : 385 | 388 : 384 |
| 2 | 10 | 740 : 738 | 739 : 738 | 739 : 738 | 739 : 738 | 739 : 738 |
| 2 | 20 | 1263 : 1261 | 1263 : 1261 | 1263 : 1261 | 1263 : 1261 | 1262 : 1261 |
| 5 | 1 | 80 : 77 | 79 : 77 | 79 : 77 | 79 : 77 | 79 : 77 |
| 5 | 2 | 154 : 154 | 154 : 154 | 154 : 154 | 154 : 154 | 154 : 153 |
| 5 | 5 | 348 : 347 | 347 : 347 | 347 : 347 | 348 : 346 | 348 : 346 |
| 5 | 10 | 585 : 582 | 585 : 582 | 586 : 581 | 585 : 581 | 585 : 581 |
| 5 | 20 | 920 : 917 | 919 : 917 | 919 : 917 | 920 : 916 | 920 : 916 |
| 10 | 1 | 79 : 77 | 79 : 77 | 79 : 77 | 79 : 77 | 80 : 76 |
| 10 | 2 | 141 : 141 | 141 : 141 | 141 : 141 | 140 : 141 | 141 : 140 |
| 10 | 5 | 286 : 282 | 286 : 282 | 286 : 282 | 286 : 282 | 286 : 282 |
| 10 | 10 | 449 : 446 | 449 : 446 | 449 : 446 | 449 : 446 | 448 : 446 |
| 10 | 20 | 616 : 612 | 616 : 612 | 616 : 612 | 616 : 612 | 616 : 611 |
| 20 | 1 | 66 : 64 | 66 : 64 | 66 : 64 | 66 : 64 | 66 : 64 |
| 20 | 2 | 114 : 112 | 114 : 112 | 115 : 111 | 115 : 111 | 114 : 111 |
| 20 | 5 | 211 : 210 | 211 : 210 | 211 : 210 | 212 : 209 | 211 : 209 |
| 20 | 10 | 291 : 289 | 291 : 289 | 290 : 289 | 290 : 289 | 290 : 289 |
| 20 | 20 | 352 : 350 | 352 : 350 | 352 : 350 | 352 : 350 | 352 : 350 |

Additional Table 6

Sample size of each fold in five-fold cross validation on Helsinki University Hospital dataset

(Expert=B; negative : positive)

| Window | Chunk | Fold 1 | Fold 2 | Fold 3 | Fold 4 | Fold 5 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 79 : 79 | 79 : 79 | 79 : 79 | 79 : 79 | 80 : 78 |
| 1 | 2 | 158 : 158 | 158 : 158 | 158 : 158 | 159 : 157 | 159 : 157 |
| 1 | 5 | 396 : 394 | 396 : 394 | 396 : 394 | 396 : 394 | 396 : 394 |
| 1 | 10 | 788 : 787 | 787 : 787 | 787 : 787 | 788 : 786 | 788 : 786 |
| 1 | 20 | 1510 : 1507 | 1509 : 1507 | 1509 : 1507 | 1509 : 1507 | 1509 : 1507 |
| 2 | 1 | 79 : 79 | 79 : 79 | 79 : 79 | 79 : 79 | 80 : 78 |
| 2 | 2 | 158 : 158 | 158 : 158 | 158 : 158 | 159 : 157 | 159 : 157 |
| 2 | 5 | 396 : 393 | 396 : 393 | 396 : 393 | 396 : 393 | 396 : 393 |
| 2 | 10 | 752 : 752 | 752 : 752 | 753 : 751 | 753 : 751 | 752 : 751 |
| 2 | 20 | 1359 : 1357 | 1359 : 1357 | 1360 : 1356 | 1360 : 1356 | 1360 : 1356 |
| 5 | 1 | 79 : 79 | 79 : 79 | 79 : 79 | 79 : 79 | 80 : 78 |
| 5 | 2 | 159 : 157 | 158 : 157 | 158 : 157 | 158 : 157 | 159 : 156 |
| 5 | 5 | 365 : 362 | 365 : 362 | 365 : 362 | 366 : 361 | 365 : 361 |
| 5 | 10 | 642 : 642 | 642 : 642 | 642 : 642 | 643 : 641 | 643 : 641 |
| 5 | 20 | 1047 : 1048 | 1048 : 1047 | 1047 : 1047 | 1047 : 1047 | 1047 : 1047 |
| 10 | 1 | 80 : 78 | 79 : 78 | 79 : 78 | 79 : 78 | 79 : 78 |
| 10 | 2 | 150 : 146 | 149 : 146 | 149 : 146 | 150 : 145 | 150 : 145 |
| 10 | 5 | 317 : 313 | 317 : 313 | 317 : 313 | 317 : 313 | 316 : 313 |
| 10 | 10 | 515 : 511 | 515 : 511 | 515 : 511 | 515 : 511 | 514 : 511 |
| 10 | 20 | 700 : 696 | 699 : 696 | 699 : 696 | 700 : 695 | 700 : 695 |
| 20 | 1 | 70 : 68 | 70 : 68 | 70 : 68 | 71 : 67 | 71 : 67 |
| 20 | 2 | 128 : 124 | 128 : 124 | 127 : 124 | 127 : 124 | 128 : 123 |
| 20 | 5 | 242 : 242 | 242 : 242 | 242 : 242 | 242 : 242 | 242 : 241 |
| 20 | 10 | 334 : 331 | 334 : 331 | 334 : 331 | 335 : 330 | 335 : 330 |
| 20 | 20 | 427 : 425 | 426 : 425 | 427 : 424 | 427 : 424 | 427 : 424 |

Additional Table 7

Sample size of each fold in five-fold cross validation on Helsinki University Hospital dataset

(Expert=C; negative : positive)

| Window | Chunk | Fold 1 | Fold 2 | Fold 3 | Fold 4 | Fold 5 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 97 : 94 | 97 : 94 | 97 : 94 | 97 : 94 | 96 : 94 |
| 1 | 2 | 190 : 188 | 189 : 188 | 189 : 188 | 189 : 188 | 189 : 188 |
| 1 | 5 | 471 : 470 | 471 : 470 | 471 : 470 | 471 : 470 | 470 : 470 |
| 1 | 10 | 942 : 938 | 942 : 938 | 941 : 938 | 941 : 938 | 942 : 937 |
| 1 | 20 | 1756 : 1753 | 1755 : 1753 | 1755 : 1753 | 1756 : 1752 | 1756 : 1752 |
| 2 | 1 | 97 : 94 | 97 : 94 | 97 : 94 | 97 : 94 | 96 : 94 |
| 2 | 2 | 190 : 188 | 189 : 188 | 189 : 188 | 189 : 188 | 189 : 188 |
| 2 | 5 | 470 : 469 | 471 : 468 | 471 : 468 | 471 : 468 | 471 : 468 |
| 2 | 10 | 871 : 871 | 872 : 870 | 871 : 870 | 871 : 870 | 871 : 870 |
| 2 | 20 | 1474 : 1474 | 1474 : 1474 | 1474 : 1474 | 1474 : 1473 | 1474 : 1473 |
| 5 | 1 | 97 : 94 | 97 : 94 | 97 : 94 | 97 : 94 | 96 : 94 |
| 5 | 2 | 189 : 187 | 189 : 187 | 190 : 186 | 189 : 186 | 189 : 186 |
| 5 | 5 | 410 : 409 | 409 : 409 | 409 : 409 | 409 : 409 | 409 : 409 |
| 5 | 10 | 678 : 675 | 677 : 675 | 677 : 675 | 678 : 674 | 678 : 674 |
| 5 | 20 | 1047 : 1044 | 1048 : 1043 | 1047 : 1043 | 1047 : 1043 | 1047 : 1043 |
| 10 | 1 | 92 : 93 | 92 : 93 | 93 : 92 | 93 : 92 | 92 : 92 |
| 10 | 2 | 167 : 167 | 168 : 166 | 167 : 166 | 167 : 166 | 167 : 166 |
| 10 | 5 | 330 : 327 | 330 : 326 | 330 : 326 | 330 : 326 | 330 : 326 |
| 10 | 10 | 506 : 506 | 506 : 506 | 506 : 506 | 506 : 506 | 506 : 506 |
| 10 | 20 | 691 : 689 | 691 : 689 | 691 : 689 | 690 : 689 | 691 : 688 |
| 20 | 1 | 75 : 74 | 75 : 74 | 75 : 74 | 74 : 74 | 75 : 73 |
| 20 | 2 | 128 : 127 | 128 : 127 | 127 : 127 | 127 : 127 | 128 : 126 |
| 20 | 5 | 238 : 235 | 238 : 235 | 237 : 235 | 237 : 235 | 238 : 234 |
| 20 | 10 | 326 : 322 | 325 : 322 | 325 : 322 | 326 : 321 | 326 : 321 |
| 20 | 20 | 383 : 380 | 383 : 380 | 382 : 380 | 383 : 379 | 383 : 379 |

Additional Table 8

Sample size for the Helsinki University Hospital dataset

(chunk=10000; negative : positive)

| Expert Window | A | B | C |
| --- | --- | --- | --- |
| 1 | 4561 : 4520 | 6029 : 6111 | 4699 : 4866 |
| 2 | 2271 : 2251 | 2998 : 3055 | 2372 : 2387 |
| 5 | 890 : 892 | 1190 : 1208 | 909 : 969 |
| 10 | 457 : 418 | 586 : 593 | 421 : 494 |
| 20 | 209 : 209 | 292 : 279 | 216 : 216 |

Additional Table 9

Sample size of each fold in five-fold cross validation on Bonn University dataset

(negative : positive)

| Fold 1 | Fold 2 | Fold 3 | Fold 4 | Fold 5 |
| --- | --- | --- | --- | --- |
| 1280 : 320 | 1280 : 320 | 1280 : 320 | 1280 : 320 | 1280 : 320 |

Additional Table 10

Training time per epoch on Helsinki University Hospital dataset

| Expert | Window | Chunk | Time |
| --- | --- | --- | --- |
| A | 1 | 1 | 0.161s |
| A | 1 | 2 | 0.287s |
| A | 1 | 5 | 0.764s |
| A | 1 | 10 | 1.528s |
| A | 1 | 20 | 2.883s |
| A | 1 | 10000 | 17.666s |
| A | 2 | 1 | 0.199s |
| A | 2 | 2 | 0.758s |
| A | 2 | 5 | 1.940s |
| A | 2 | 10 | 3.411s |
| A | 2 | 20 | 5.858s |
| A | 2 | 10000 | 20.936s |
| A | 5 | 1 | 0.508s |
| A | 5 | 2 | 0.956s |
| A | 5 | 5 | 2.109s |
| A | 5 | 10 | 2.860s |
| A | 5 | 20 | 4.042s |
| A | 5 | 10000 | 10.828s |
| A | 10 | 1 | 0.774s |
| A | 10 | 2 | 1.365s |
| A | 10 | 5 | 2.759s |
| A | 10 | 10 | 4.182s |
| A | 10 | 20 | 6.025s |
| A | 10 | 10000 | 8.586s |
| A | 20 | 1 | 1.200s |
| A | 20 | 2 | 1.990s |
| A | 20 | 5 | 3.678s |
| A | 20 | 10 | 5.089s |
| A | 20 | 20 | 5.973s |
| A | 20 | 10000 | 7.332s |
| B | 1 | 1 | 0.414s |
| B | 1 | 2 | 0.799s |
| B | 1 | 5 | 2.005s |
| B | 1 | 10 | 3.916s |
| B | 1 | 20 | 4.080s |
| B | 1 | 10000 | 54.586s |
| B | 2 | 1 | 0.363s |
| B | 2 | 2 | 0.757s |
| B | 2 | 5 | 2.060s |
| B | 2 | 10 | 3.576s |
| B | 2 | 20 | 7.546s |
| B | 2 | 10000 | 30.561s |
| B | 5 | 1 | 0.473s |
| B | 5 | 2 | 1.174s |
| B | 5 | 5 | 2.837s |
| B | 5 | 10 | 3.971s |
| B | 5 | 20 | 6.377s |
| B | 5 | 10000 | 10.367s |
| B | 10 | 1 | 0.643s |
| B | 10 | 2 | 1.200s |
| B | 10 | 5 | 2.538s |
| B | 10 | 10 | 4.148s |
| B | 10 | 20 | 5.621s |
| B | 10 | 10000 | 9.468s |
| B | 20 | 1 | 1.099s |
| B | 20 | 2 | 1.972s |
| B | 20 | 5 | 3.816s |
| B | 20 | 10 | 5.203s |
| B | 20 | 20 | 6.664s |
| B | 20 | 10000 | 8.926s |
| C | 1 | 1 | 0.440s |
| C | 1 | 2 | 0.881s |
| C | 1 | 5 | 2.241s |
| C | 1 | 10 | 4.323s |
| C | 1 | 20 | 7.893s |
| C | 1 | 10000 | 41.807s |
| C | 2 | 1 | 0.230s |
| C | 2 | 2 | 0.450s |
| C | 2 | 5 | 1.088s |
| C | 2 | 10 | 2.019s |
| C | 2 | 20 | 3.533s |
| C | 2 | 10000 | 11.350s |
| C | 5 | 1 | 0.434s |
| C | 5 | 2 | 1.284s |
| C | 5 | 5 | 2.681s |
| C | 5 | 10 | 4.182s |
| C | 5 | 20 | 6.340s |
| C | 5 | 10000 | 12.960s |
| C | 10 | 1 | 0.955s |
| C | 10 | 2 | 1.735s |
| C | 10 | 5 | 3.552s |
| C | 10 | 10 | 5.126s |
| C | 10 | 20 | 7.063s |
| C | 10 | 10000 | 8.975s |
| C | 20 | 1 | 1.503s |
| C | 20 | 2 | 2.425s |
| C | 20 | 5 | 3.703s |
| C | 20 | 10 | 5.077s |
| C | 20 | 20 | 6.550s |
| C | 20 | 10000 | 6.823s |

Additional Table 11

A summary of the important parameters of CNN model

| Parameter | Value |
| --- | --- |
| CNN network | Three sequential Conv2D layers followed by three fully connected layers, Conv1: kernel = (3, 3), strides = (1, 1), number = 1280, Conv2: kernel = (3, 3), strides = (1, 1), number = 640, Conv3: kernel = (3, 3), strides = (1, 1), number = 320, fully connected layer1: output features = 32 fully connected layer2: output features = 64 fully connected layer3: output features = 1 (with sigmoid) |
| Optimization algorithm | SGD with the parameters: Learning rate = 0.01, Momentum = 0.5, Nesterov = False |
| Loss function | Binary cross-entropy |
| Batch size | 16 |
| Number of epochs | 300 |

Additional Table 12

A summary of the important parameters of CNN-LSTM model

| Parameter | Value |
| --- | --- |
| CNN network | Four sequential Conv1D layers followed by one fully connected layer, Conv1: kernel = 3, strides = 1, number = 128, Conv2: kernel = 3, strides = 1, number = 512, Conv3: kernel = 3, strides = 1, number = 1024, One fully connected layer (output features = 256) |
| LSTM network | Two sequential LSTM layers followed by four fully connected layers, LSTM1: hidden size = 64, LSTM2: hidden size = 64, fully connected layer1: output features = 256 fully connected layer2: output features = 218 fully connected layer3: output features = 64 fully connected layer4: output features = 2 (with softmax) |
| Optimization algorithm | SGD with the parameters: Learning rate = 0.001, Momentum = 0.5 Weight decay = 0.0001 |
| Loss function | Binary cross-entropy |
| Batch size | 64 |
| Number of epochs | 300 |

Additional Table 13

A summary of the important parameters of ResNet50 model

| Parameter | Value |
| --- | --- |
| CNN network | Five sequential Conv2D stages followed by one fully connected layer, Stage1 (Conv2D): kernel = (3, 3), strides = (2, 2), number = 64, Stage2: kernel=1, 1, number=64kernel=3, 3, number=64kernel=1, 1, number=256×3, Stage3: kernel=1, 1, number=128kernel=3, 3, number=128kernel=1, 1, number=512×4, Stage4: kernel=1, 1, number=256kernel=3, 3, number=256kernel=1, 1, number=1024×6, Stage5: kernel=1, 1, number=512kernel=3, 3, number=512kernel=1, 1, number=2048×3, One fully connected layer (output features = 2, with softmax) |
| Optimization algorithm | SGD with the parameters: Learning rate = 0.001, Momentum = 0.5 Weight decay = 0.0001 |
| Loss function | Binary cross-entropy |
| Batch size | 64 |
| Number of epochs | 300 |

Additional Table 14

A summary of the important parameters of STFFDA model

| Parameter | Value |
| --- | --- |
| CNN network | One Conv1D layer followed by one Squeeze-and-Excitation-block, Conv: kernel = 3, strides = 1, number = 32 |
| Bi-LSTM network | One Bi-LSTM layer (hidden size = 8) |
| Dot-product attention | One dot-product attention layer followed by three fully connected layers, fully connected layer1: output features = 32 fully connected layer2: output features = 16 fully connected layer3: output features = 2 (with softmax) |
| Optimization algorithm | Adam with the parameters: Learning rate = 0.001 |
| Loss function | Categorical cross-entropy |
| Batch size | 1024 |
| Number of epochs | 100 |

Additional Table 15

A summary of the important parameters of CWT-DCNN model

| Parameter | Value |
| --- | --- |
| CNN network | Two blocks of Conv2D followed by DepthwiseConv2D, then two fully connected layers, Conv1: kernel = (3, 3), strides = (1, 1), number = 4, DepthwiseConv1: kernel = (5, 5), strides = (1, 1), number = 4, Conv2: kernel = (3, 3), strides = (1, 1), number = 8, DepthwiseConv2: kernel = (5, 5), strides = (1, 1), number = 8, fully connected layer1: output features = 512 fully connected layer2: output features = 1 (with sigmoid) |
| Optimization algorithm | Adam with the parameters: Learning rate = 0.0002 |
| Loss function | Binary cross-entropy |
| Batch size | 128 |
| Number of epochs | 100 |

Additional Table 16

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=1, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.629±0.038 | 0.735±0.047 | 0.798±0.094 | 0.338±0.103 | 0.466±0.098 |
| CNN-LSTM | 0.565±0.082 | 0.598±0.091 | 0.557±0.080 | 0.564±0.101 | 0.560±0.087 |
| ResNet50 | 0.600±0.028 | 0.619±0.034 | 0.624±0.038 | 0.478±0.057 | 0.540±0.044 |
| STFFDA | 0.592±0.041 | 0.640±0.039 | 0.590±0.044 | 0.566±0.042 | 0.578±0.040 |
| CWT-DCNN | 0.575±0.030 | 0.605±0.040 | 0.565±0.024 | 0.590±0.077 | 0.575±0.048 |
| SC-LSTM | 0.697±0.043 | 0.773±0.037 | 0.663±0.043 | 0.787±0.044 | 0.719±0.036 |

Additional Table 17

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=1, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.625±0.026 | 0.722±0.026 | 0.789±0.025 | 0.340±0.067 | 0.472±0.066 |
| CNN-LSTM | 0.572±0.050 | 0.589±0.062 | 0.567±0.044 | 0.584±0.102 | 0.573±0.070 |
| ResNet50 | 0.566±0.043 | 0.589±0.049 | 0.577±0.055 | 0.516±0.068 | 0.542±0.047 |
| CWT-DCNN | 0.599±0.043 | 0.629±0.035 | 0.600±0.045 | 0.602±0.040 | 0.600±0.036 |
| SC-LSTM | 0.718±0.026 | 0.772±0.031 | 0.744±0.053 | 0.670±0.051 | 0.703±0.025 |

Additional Table 18

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=1, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.609±0.031 | 0.704±0.104 | 0.803±0.062 | 0.279±0.088 | 0.406±0.092 |
| CNN-LSTM | 0.592±0.015 | 0.631±0.008 | 0.589±0.011 | 0.568±0.048 | 0.578±0.029 |
| ResNet50 | 0.579±0.039 | 0.618±0.054 | 0.598±0.049 | 0.434±0.086 | 0.500±0.075 |
| STFFDA | 0.614±0.027 | 0.648±0.008 | 0.610±0.030 | 0.634±0.071 | 0.620±0.035 |
| CWT-DCNN | 0.574±0.021 | 0.620±0.017 | 0.567±0.027 | 0.598±0.085 | 0.578±0.037 |
| SC-LSTM | 0.694±0.035 | 0.771±0.035 | 0.689±0.015 | 0.691±0.137 | 0.685±0.067 |

Additional Table 19

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=2, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.702±0.020 | 0.797±0.017 | 0.817±0.011 | 0.521±0.047 | 0.635±0.036 |
| CNN-LSTM | 0.655±0.013 | 0.703±0.022 | 0.656±0.022 | 0.653±0.036 | 0.654±0.014 |
| ResNet50 | 0.605±0.019 | 0.651±0.027 | 0.619±0.019 | 0.551±0.060 | 0.581±0.034 |
| STFFDA | 0.598±0.031 | 0.640±0.018 | 0.595±0.034 | 0.581±0.077 | 0.585±0.043 |
| CWT-DCNN | 0.604±0.016 | 0.636±0.013 | 0.604±0.018 | 0.609±0.035 | 0.606±0.018 |
| SC-LSTM | 0.743±0.011 | 0.811±0.012 | 0.754±0.023 | 0.723±0.053 | 0.737±0.021 |

Additional Table 20

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=2, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.697±0.030 | 0.794±0.019 | 0.827±0.027 | 0.499±0.079 | 0.619±0.058 |
| CNN-LSTM | 0.631±0.066 | 0.652±0.084 | 0.627±0.065 | 0.637±0.093 | 0.631±0.077 |
| ResNet50 | 0.583±0.038 | 0.629±0.032 | 0.583±0.034 | 0.563±0.084 | 0.572±0.057 |
| STFFDA | 0.630±0.022 | 0.684±0.026 | 0.637±0.029 | 0.608±0.019 | 0.621±0.016 |
| CWT-DCNN | 0.595±0.018 | 0.638±0.015 | 0.598±0.019 | 0.574±0.036 | 0.585±0.022 |
| SC-LSTM | 0.727±0.020 | 0.796±0.026 | 0.757±0.052 | 0.681±0.099 | 0.711±0.034 |

Additional Table 21

Comparison of different models on Helsinki University Hospital dataset

window=1 chunk=2 Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.677±0.034 | 0.806±0.020 | 0.810±0.037 | 0.459±0.074 | 0.583±0.063 |
| CNN-LSTM | 0.655±0.039 | 0.706±0.039 | 0.650±0.037 | 0.667±0.046 | 0.658±0.040 |
| ResNet50 | 0.597±0.022 | 0.643±0.022 | 0.616±0.032 | 0.509±0.012 | 0.557±0.018 |
| STFFDA | 0.640±0.008 | 0.692±0.020 | 0.637±0.013 | 0.646±0.016 | 0.641±0.006 |
| CWT-DCNN | 0.614±0.009 | 0.664±0.013 | 0.608±0.007 | 0.633±0.051 | 0.619±0.024 |
| SC-LSTM | 0.728±0.011 | 0.796±0.026 | 0.748±0.031 | 0.700±0.041 | 0.722±0.013 |

Additional Table 22

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=5, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.732±0.021 | 0.851±0.014 | 0.865±0.026 | 0.549±0.050 | 0.670±0.037 |
| CNN-LSTM | 0.725±0.013 | 0.780±0.018 | 0.714±0.023 | 0.752±0.040 | 0.732±0.014 |
| ResNet50 | 0.661±0.013 | 0.732±0.019 | 0.686±0.022 | 0.618±0.040 | 0.649±0.021 |
| STFFDA | 0.669±0.012 | 0.731±0.013 | 0.671±0.028 | 0.672±0.102 | 0.666±0.038 |
| CWT-DCNN | 0.635±0.007 | 0.696±0.021 | 0.622±0.013 | 0.684±0.038 | 0.651±0.012 |
| SC-LSTM | 0.767±0.019 | 0.849±0.010 | 0.787±0.020 | 0.730±0.034 | 0.757±0.022 |

Additional Table 23

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=5, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.754±0.017 | 0.847±0.015 | 0.839±0.022 | 0.628±0.021 | 0.718±0.021 |
| CNN-LSTM | 0.696±0.023 | 0.746±0.029 | 0.697±0.026 | 0.694±0.054 | 0.694±0.029 |
| ResNet50 | 0.635±0.016 | 0.693±0.017 | 0.638±0.019 | 0.624±0.047 | 0.630±0.024 |
| STFFDA | 0.668±0.013 | 0.732±0.013 | 0.675±0.017 | 0.647±0.025 | 0.660±0.014 |
| CWT-DCNN | 0.633±0.017 | 0.689±0.018 | 0.628±0.029 | 0.660±0.052 | 0.641±0.011 |
| SC-LSTM | 0.750±0.010 | 0.836±0.012 | 0.788±0.032 | 0.687±0.052 | 0.732±0.018 |

Additional Table 24

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=5, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.727±0.019 | 0.862±0.017 | 0.872±0.016 | 0.532±0.054 | 0.659±0.038 |
| CNN-LSTM | 0.745±0.012 | 0.802±0.008 | 0.740±0.017 | 0.756±0.021 | 0.747±0.011 |
| ResNet50 | 0.676±0.024 | 0.743±0.031 | 0.683±0.034 | 0.661±0.006 | 0.672±0.017 |
| STFFDA | 0.698±0.015 | 0.765±0.015 | 0.696±0.019 | 0.701±0.013 | 0.699±0.012 |
| CWT-DCNN | 0.664±0.015 | 0.721±0.018 | 0.671±0.025 | 0.644±0.019 | 0.657±0.007 |
| SC-LSTM | 0.767±0.016 | 0.856±0.017 | 0.799±0.012 | 0.712±0.026 | 0.753±0.019 |

Additional Table 25

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=10, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.778±0.017 | 0.890±0.005 | 0.892±0.011 | 0.634±0.038 | 0.740±0.025 |
| CNN-LSTM | 0.764±0.012 | 0.809±0.013 | 0.757±0.011 | 0.779±0.016 | 0.768±0.013 |
| ResNet50 | 0.712±0.016 | 0.789±0.019 | 0.719±0.020 | 0.697±0.060 | 0.706±0.028 |
| STFFDA | 0.728±0.009 | 0.806±0.011 | 0.723±0.021 | 0.744±0.025 | 0.732±0.004 |
| CWT-DCNN | 0.663±0.017 | 0.730±0.017 | 0.651±0.010 | 0.703±0.048 | 0.675±0.026 |
| SC-LSTM | 0.793±0.010 | 0.878±0.008 | 0.835±0.015 | 0.732±0.024 | 0.780±0.013 |

Additional Table 26

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=10, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.768±0.023 | 0.883±0.012 | 0.885±0.027 | 0.617±0.063 | 0.725±0.038 |
| CNN-LSTM | 0.750±0.010 | 0.800±0.014 | 0.745±0.015 | 0.762±0.010 | 0.753±0.008 |
| ResNet50 | 0.691±0.011 | 0.760±0.016 | 0.690±0.016 | 0.694±0.021 | 0.692±0.011 |
| STFFDA | 0.723±0.015 | 0.803±0.012 | 0.724±0.017 | 0.722±0.013 | 0.723±0.014 |
| CWT-DCNN | 0.656±0.016 | 0.727±0.014 | 0.654±0.023 | 0.664±0.035 | 0.658±0.015 |
| SC-LSTM | 0.787±0.010 | 0.871±0.007 | 0.823±0.007 | 0.730±0.025 | 0.773±0.013 |

Additional Table 27

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=10, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.782±0.027 | 0.906±0.007 | 0.911±0.013 | 0.624±0.067 | 0.739±0.044 |
| CNN-LSTM | 0.790±0.012 | 0.840±0.011 | 0.794±0.025 | 0.784±0.020 | 0.789±0.010 |
| ResNet50 | 0.737±0.020 | 0.811±0.017 | 0.738±0.023 | 0.734±0.027 | 0.736±0.020 |
| STFFDA | 0.767±0.007 | 0.848±0.008 | 0.766±0.007 | 0.767±0.011 | 0.767±0.008 |
| CWT-DCNN | 0.672±0.028 | 0.741±0.037 | 0.683±0.033 | 0.648±0.080 | 0.661±0.043 |
| SC-LSTM | 0.815±0.009 | 0.899±0.005 | 0.861±0.010 | 0.750±0.019 | 0.802±0.011 |

Additional Table 28

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=20, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.808±0.015 | 0.917±0.005 | 0.910±0.009 | 0.684±0.033 | 0.781±0.022 |
| CNN-LSTM | 0.795±0.009 | 0.843±0.012 | 0.798±0.013 | 0.790±0.019 | 0.794±0.009 |
| ResNet50 | 0.751±0.009 | 0.830±0.007 | 0.752±0.015 | 0.750±0.018 | 0.751±0.009 |
| STFFDA | 0.778±0.007 | 0.865±0.008 | 0.777±0.005 | 0.779±0.024 | 0.778±0.010 |
| CWT-DCNN | 0.691±0.012 | 0.767±0.018 | 0.689±0.015 | 0.699±0.058 | 0.693±0.023 |
| SC-LSTM | 0.826±0.010 | 0.912±0.005 | 0.869±0.003 | 0.767±0.021 | 0.815±0.013 |

Additional Table 29

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=20, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.803±0.014 | 0.911±0.004 | 0.908±0.012 | 0.674±0.041 | 0.773±0.023 |
| CNN-LSTM | 0.783±0.009 | 0.834±0.015 | 0.778±0.017 | 0.791±0.008 | 0.785±0.006 |
| ResNet50 | 0.731±0.009 | 0.808±0.006 | 0.733±0.009 | 0.727±0.023 | 0.730±0.012 |
| STFFDA | 0.776±0.002 | 0.860±0.006 | 0.776±0.007 | 0.775±0.012 | 0.776±0.004 |
| CWT-DCNN | 0.689±0.029 | 0.767±0.033 | 0.676±0.043 | 0.742±0.081 | 0.703±0.030 |
| SC-LSTM | 0.813±0.007 | 0.902±0.005 | 0.856±0.009 | 0.754±0.021 | 0.802±0.011 |

Additional Table 30

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=20, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.805±0.019 | 0.928±0.007 | 0.937±0.009 | 0.653±0.042 | 0.769±0.028 |
| CNN-LSTM | 0.815±0.003 | 0.863±0.003 | 0.823±0.015 | 0.802±0.029 | 0.812±0.008 |
| ResNet50 | 0.771±0.006 | 0.853±0.003 | 0.764±0.009 | 0.785±0.011 | 0.774±0.006 |
| STFFDA | 0.793±0.006 | 0.881±0.006 | 0.786±0.022 | 0.808±0.040 | 0.796±0.010 |
| CWT-DCNN | 0.731±0.020 | 0.815±0.019 | 0.735±0.034 | 0.724±0.017 | 0.729±0.011 |
| SC-LSTM | 0.846±0.006 | 0.927±0.004 | 0.892±0.010 | 0.788±0.016 | 0.837±0.008 |

Additional Table 31

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=10000, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.871 | 0.964 | 0.966 | 0.769 | 0.857 |
| CNN-LSTM | 0.910 | 0.935 | 0.920 | 0.898 | 0.909 |
| ResNet50 | 0.862 | 0.935 | 0.857 | 0.868 | 0.862 |
| STFFDA | 0.852 | 0.935 | 0.831 | 0.884 | 0.856 |
| CWT-DCNN | 0.840 | 0.926 | 0.866 | 0.804 | 0.834 |
| SC-LSTM | 0.929 | 0.978 | 0.949 | 0.907 | 0.928 |

Additional Table 32

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=10000, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.854 | 0.962 | 0.972 | 0.729 | 0.833 |
| CNN-LSTM | 0.915 | 0.948 | 0.937 | 0.890 | 0.913 |
| ResNet50 | 0.864 | 0.935 | 0.875 | 0.851 | 0.863 |
| STFFDA | 0.852 | 0.932 | 0.874 | 0.825 | 0.847 |
| CWT-DCNN | 0.843 | 0.925 | 0.849 | 0.837 | 0.843 |
| SC-LSTM | 0.931 | 0.980 | 0.962 | 0.898 | 0.929 |

Additional Table 33

Comparison of different models on Helsinki University Hospital dataset

window=1, chunk=10000, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.894 | 0.968 | 0.956 | 0.826 | 0.886 |
| CNN-LSTM | 0.916 | 0.947 | 0.933 | 0.896 | 0.914 |
| ResNet50 | 0.878 | 0.948 | 0.886 | 0.866 | 0.876 |
| STFFDA | 0.864 | 0.940 | 0.872 | 0.852 | 0.862 |
| CWT-DCNN | 0.841 | 0.928 | 0.838 | 0.852 | 0.845 |
| SC-LSTM | 0.930 | 0.981 | 0.962 | 0.896 | 0.928 |

Additional Table 34

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=1, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.663±0.065 | 0.809±0.023 | 0.852±0.060 | 0.387±0.146 | 0.519±0.132 |
| CNN-LSTM | 0.548±0.034 | 0.576±0.028 | 0.536±0.029 | 0.608±0.071 | 0.569±0.045 |
| ResNet50 | 0.635±0.029 | 0.700±0.021 | 0.679±0.052 | 0.501±0.070 | 0.573±0.048 |
| STFFDA | 0.626±0.039 | 0.688±0.063 | 0.620±0.037 | 0.623±0.070 | 0.620±0.048 |
| CWT-DCNN | 0.611±0.054 | 0.657±0.052 | 0.605±0.055 | 0.610±0.059 | 0.607±0.055 |
| SC-LSTM | 0.746±0.030 | 0.814±0.023 | 0.819±0.042 | 0.626±0.070 | 0.707±0.044 |

Additional Table 35

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=1, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.665±0.057 | 0.777±0.043 | 0.843±0.081 | 0.398±0.103 | 0.537±0.106 |
| CNN-LSTM | 0.594±0.059 | 0.627±0.071 | 0.591±0.055 | 0.579±0.109 | 0.583±0.084 |
| ResNet50 | 0.659±0.030 | 0.721±0.035 | 0.727±0.059 | 0.513±0.046 | 0.600±0.038 |
| STFFDA | 0.661±0.033 | 0.706±0.033 | 0.651±0.028 | 0.690±0.081 | 0.668±0.047 |
| CWT-DCNN | 0.638±0.022 | 0.688±0.019 | 0.640±0.024 | 0.635±0.103 | 0.632±0.046 |
| SC-LSTM | 0.741±0.017 | 0.814±0.022 | 0.839±0.079 | 0.622±0.071 | 0.708±0.027 |

Additional Table 36

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=1, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.643±0.033 | 0.793±0.028 | 0.859±0.033 | 0.330±0.082 | 0.471±0.084 |
| CNN-LSTM | 0.552±0.039 | 0.580±0.045 | 0.548±0.044 | 0.545±0.043 | 0.545±0.034 |
| ResNet50 | 0.658±0.032 | 0.716±0.051 | 0.719±0.039 | 0.504±0.072 | 0.590±0.058 |
| STFFDA | 0.627±0.060 | 0.700±0.048 | 0.619±0.056 | 0.615±0.101 | 0.616±0.079 |
| CWT-DCNN | 0.622±0.055 | 0.650±0.062 | 0.610±0.048 | 0.628±0.094 | 0.618±0.069 |
| SC-LSTM | 0.724±0.037 | 0.811±0.026 | 0.730±0.091 | 0.734±0.096 | 0.723±0.029 |

Additional Table 37

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=2, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.745±0.041 | 0.852±0.029 | 0.890±0.046 | 0.562±0.106 | 0.683±0.076 |
| CNN-LSTM | 0.679±0.014 | 0.732±0.017 | 0.680±0.008 | 0.677±0.037 | 0.678±0.021 |
| ResNet50 | 0.676±0.010 | 0.732±0.024 | 0.719±0.021 | 0.581±0.029 | 0.642±0.015 |
| STFFDA | 0.661±0.024 | 0.716±0.023 | 0.667±0.033 | 0.651±0.035 | 0.657±0.020 |
| CWT-DCNN | 0.648±0.023 | 0.703±0.020 | 0.648±0.029 | 0.656±0.066 | 0.649±0.033 |
| SC-LSTM | 0.793±0.026 | 0.860±0.022 | 0.788±0.043 | 0.806±0.031 | 0.796±0.021 |

Additional Table 38

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=2, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.692±0.039 | 0.833±0.029 | 0.860±0.047 | 0.457±0.079 | 0.594±0.073 |
| CNN-LSTM | 0.667±0.029 | 0.714±0.041 | 0.658±0.034 | 0.697±0.037 | 0.676±0.028 |
| ResNet50 | 0.687±0.021 | 0.748±0.024 | 0.725±0.026 | 0.600±0.038 | 0.656±0.027 |
| STFFDA | 0.645±0.027 | 0.710±0.032 | 0.641±0.015 | 0.651±0.072 | 0.645±0.042 |
| CWT-DCNN | 0.601±0.024 | 0.653±0.019 | 0.608±0.028 | 0.565±0.047 | 0.585±0.031 |
| SC-LSTM | 0.762±0.014 | 0.837±0.020 | 0.799±0.039 | 0.702±0.028 | 0.746±0.011 |

Additional Table 39

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=2, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.731±0.027 | 0.866±0.023 | 0.917±0.021 | 0.506±0.053 | 0.651±0.047 |
| CNN-LSTM | 0.681±0.019 | 0.737±0.016 | 0.682±0.017 | 0.676±0.049 | 0.678±0.027 |
| ResNet50 | 0.694±0.029 | 0.768±0.032 | 0.740±0.037 | 0.596±0.046 | 0.659±0.036 |
| STFFDA | 0.677±0.014 | 0.751±0.008 | 0.679±0.014 | 0.667±0.025 | 0.673±0.017 |
| CWT-DCNN | 0.632±0.045 | 0.680±0.052 | 0.652±0.040 | 0.569±0.130 | 0.598±0.088 |
| SC-LSTM | 0.769±0.019 | 0.860±0.014 | 0.818±0.039 | 0.693±0.047 | 0.749±0.024 |

Additional Table 40

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=5, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.779±0.018 | 0.895±0.012 | 0.920±0.013 | 0.610±0.037 | 0.733±0.027 |
| CNN-LSTM | 0.767±0.021 | 0.822±0.018 | 0.770±0.025 | 0.759±0.026 | 0.764±0.021 |
| ResNet50 | 0.732±0.016 | 0.811±0.013 | 0.752±0.020 | 0.691±0.020 | 0.720±0.017 |
| STFFDA | 0.691±0.015 | 0.771±0.016 | 0.682±0.013 | 0.711±0.030 | 0.696±0.018 |
| CWT-DCNN | 0.668±0.020 | 0.731±0.022 | 0.668±0.009 | 0.667±0.090 | 0.664±0.045 |
| SC-LSTM | 0.809±0.008 | 0.890±0.012 | 0.854±0.012 | 0.745±0.029 | 0.795±0.013 |

Additional Table 41

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=5, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.779±0.021 | 0.889±0.011 | 0.904±0.030 | 0.625±0.064 | 0.737±0.039 |
| CNN-LSTM | 0.753±0.013 | 0.815±0.011 | 0.742±0.014 | 0.775±0.021 | 0.758±0.013 |
| ResNet50 | 0.725±0.026 | 0.801±0.024 | 0.751±0.017 | 0.669±0.061 | 0.707±0.038 |
| STFFDA | 0.690±0.013 | 0.762±0.010 | 0.693±0.018 | 0.682±0.054 | 0.686±0.023 |
| CWT-DCNN | 0.652±0.017 | 0.702±0.023 | 0.650±0.019 | 0.663±0.086 | 0.653±0.036 |
| SC-LSTM | 0.808±0.014 | 0.884±0.012 | 0.844±0.018 | 0.753±0.022 | 0.796±0.016 |

Additional Table 42

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=5, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.800±0.022 | 0.917±0.013 | 0.920±0.022 | 0.656±0.052 | 0.765±0.034 |
| CNN-LSTM | 0.796±0.014 | 0.850±0.013 | 0.805±0.016 | 0.780±0.017 | 0.792±0.015 |
| ResNet50 | 0.765±0.008 | 0.844±0.014 | 0.772±0.010 | 0.751±0.022 | 0.761±0.011 |
| STFFDA | 0.740±0.015 | 0.825±0.017 | 0.739±0.018 | 0.742±0.032 | 0.740±0.018 |
| CWT-DCNN | 0.674±0.021 | 0.741±0.018 | 0.668±0.031 | 0.701±0.044 | 0.682±0.016 |
| SC-LSTM | 0.837±0.012 | 0.916±0.011 | 0.864±0.014 | 0.800±0.017 | 0.830±0.013 |

Additional Table 43

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=10, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.828±0.018 | 0.934±0.006 | 0.932±0.010 | 0.708±0.042 | 0.804±0.026 |
| CNN-LSTM | 0.806±0.009 | 0.852±0.014 | 0.805±0.020 | 0.807±0.013 | 0.806±0.007 |
| ResNet50 | 0.776±0.006 | 0.854±0.006 | 0.787±0.015 | 0.758±0.011 | 0.772±0.002 |
| STFFDA | 0.760±0.015 | 0.847±0.012 | 0.759±0.011 | 0.760±0.029 | 0.759±0.018 |
| CWT-DCNN | 0.694±0.021 | 0.769±0.027 | 0.686±0.024 | 0.720±0.058 | 0.701±0.027 |
| SC-LSTM | 0.850±0.007 | 0.928±0.001 | 0.891±0.006 | 0.797±0.016 | 0.841±0.009 |

Additional Table 44

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=10, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.814±0.016 | 0.922±0.006 | 0.929±0.011 | 0.680±0.035 | 0.784±0.022 |
| CNN-LSTM | 0.799±0.007 | 0.851±0.005 | 0.800±0.016 | 0.796±0.019 | 0.798±0.007 |
| ResNet50 | 0.760±0.013 | 0.840±0.010 | 0.764±0.015 | 0.751±0.022 | 0.757±0.014 |
| STFFDA | 0.755±0.008 | 0.837±0.006 | 0.755±0.005 | 0.754±0.021 | 0.755±0.011 |
| CWT-DCNN | 0.683±0.024 | 0.751±0.034 | 0.677±0.024 | 0.704±0.067 | 0.688±0.034 |
| SC-LSTM | 0.837±0.008 | 0.918±0.004 | 0.886±0.006 | 0.775±0.014 | 0.826±0.009 |

Additional Table 45

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=10, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.831±0.020 | 0.943±0.009 | 0.947±0.012 | 0.701±0.046 | 0.805±0.029 |
| CNN-LSTM | 0.833±0.013 | 0.881±0.018 | 0.846±0.026 | 0.816±0.022 | 0.830±0.012 |
| ResNet50 | 0.795±0.007 | 0.877±0.007 | 0.815±0.011 | 0.764±0.019 | 0.788±0.009 |
| STFFDA | 0.787±0.014 | 0.871±0.011 | 0.786±0.024 | 0.788±0.020 | 0.787±0.012 |
| CWT-DCNN | 0.726±0.011 | 0.810±0.012 | 0.729±0.020 | 0.721±0.016 | 0.725±0.007 |
| SC-LSTM | 0.870±0.006 | 0.941±0.008 | 0.914±0.009 | 0.816±0.018 | 0.862±0.008 |

Additional Table 46

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=20, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.843±0.010 | 0.953±0.002 | 0.956±0.004 | 0.718±0.024 | 0.820±0.014 |
| CNN-LSTM | 0.850±0.006 | 0.896±0.007 | 0.865±0.015 | 0.831±0.015 | 0.847±0.006 |
| ResNet50 | 0.809±0.005 | 0.891±0.007 | 0.825±0.010 | 0.785±0.010 | 0.805±0.005 |
| STFFDA | 0.803±0.008 | 0.885±0.005 | 0.794±0.014 | 0.817±0.011 | 0.805±0.007 |
| CWT-DCNN | 0.725±0.026 | 0.802±0.027 | 0.720±0.034 | 0.740±0.039 | 0.729±0.025 |
| SC-LSTM | 0.882±0.004 | 0.955±0.004 | 0.936±0.008 | 0.822±0.013 | 0.875±0.004 |

Additional Table 47

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=20, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.844±0.011 | 0.947±0.004 | 0.949±0.010 | 0.727±0.025 | 0.823±0.015 |
| CNN-LSTM | 0.839±0.004 | 0.888±0.004 | 0.839±0.010 | 0.840±0.011 | 0.839±0.004 |
| ResNet50 | 0.798±0.009 | 0.879±0.006 | 0.804±0.008 | 0.788±0.012 | 0.796±0.010 |
| STFFDA | 0.799±0.005 | 0.883±0.005 | 0.811±0.013 | 0.781±0.028 | 0.795±0.010 |
| CWT-DCNN | 0.706±0.012 | 0.784±0.015 | 0.718±0.013 | 0.677±0.036 | 0.697±0.018 |
| SC-LSTM | 0.876±0.007 | 0.947±0.004 | 0.914±0.011 | 0.829±0.015 | 0.869±0.008 |

Additional Table 48

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=20, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.851±0.014 | 0.961±0.005 | 0.967±0.008 | 0.727±0.024 | 0.830±0.018 |
| CNN-LSTM | 0.866±0.012 | 0.907±0.012 | 0.880±0.016 | 0.847±0.011 | 0.863±0.011 |
| ResNet50 | 0.824±0.008 | 0.905±0.005 | 0.831±0.017 | 0.813±0.020 | 0.822±0.008 |
| STFFDA | 0.818±0.006 | 0.900±0.006 | 0.814±0.010 | 0.824±0.024 | 0.819±0.009 |
| CWT-DCNN | 0.723±0.023 | 0.809±0.033 | 0.712±0.014 | 0.751±0.077 | 0.729±0.036 |
| SC-LSTM | 0.895±0.009 | 0.963±0.004 | 0.936±0.010 | 0.848±0.019 | 0.889±0.011 |

Additional Table 49

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=10000, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.907 | 0.981 | 0.982 | 0.829 | 0.899 |
| CNN-LSTM | 0.935 | 0.959 | 0.949 | 0.918 | 0.934 |
| ResNet50 | 0.899 | 0.958 | 0.913 | 0.881 | 0.897 |
| STFFDA | 0.821 | 0.935 | 0.759 | 0.942 | 0.841 |
| CWT-DCNN | 0.810 | 0.903 | 0.790 | 0.842 | 0.815 |
| SC-LSTM | 0.947 | 0.988 | 0.972 | 0.921 | 0.946 |

Additional Table 50

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=10000, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.900 | 0.981 | 0.983 | 0.815 | 0.891 |
| CNN-LSTM | 0.943 | 0.964 | 0.950 | 0.936 | 0.943 |
| ResNet50 | 0.896 | 0.960 | 0.914 | 0.873 | 0.893 |
| STFFDA | 0.814 | 0.934 | 0.754 | 0.933 | 0.834 |
| CWT-DCNN | 0.811 | 0.898 | 0.815 | 0.810 | 0.817 |
| SC-LSTM | 0.950 | 0.990 | 0.977 | 0.921 | 0.949 |

Additional Table 51

Comparison of different models on Helsinki University Hospital dataset

window=2, chunk=10000, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.909 | 0.985 | 0.984 | 0.832 | 0.902 |
| CNN-LSTM | 0.940 | 0.965 | 0.950 | 0.930 | 0.940 |
| ResNet50 | 0.900 | 0.962 | 0.908 | 0.889 | 0.899 |
| STFFDA | 0.861 | 0.940 | 0.867 | 0.853 | 0.860 |
| CWT-DCNN | 0.825 | 0.908 | 0.804 | 0.862 | 0.832 |
| SC-LSTM | 0.948 | 0.990 | 0.981 | 0.913 | 0.946 |

Additional Table 52

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=1, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.699±0.049 | 0.863±0.020 | 0.885±0.058 | 0.449±0.107 | 0.590±0.087 |
| CNN-LSTM | 0.644±0.042 | 0.687±0.055 | 0.622±0.031 | 0.704±0.070 | 0.660±0.047 |
| ResNet50 | 0.712±0.021 | 0.804±0.018 | 0.771±0.017 | 0.592±0.057 | 0.668±0.036 |
| STFFDA | 0.638±0.032 | 0.691±0.031 | 0.633±0.029 | 0.626±0.050 | 0.629±0.039 |
| CWT-DCNN | 0.627±0.033 | 0.676±0.044 | 0.622±0.025 | 0.618±0.072 | 0.619±0.045 |
| SC-LSTM | 0.776±0.035 | 0.879±0.019 | 0.857±0.028 | 0.655±0.070 | 0.741±0.047 |

Additional Table 53

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=1, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.730±0.021 | 0.837±0.035 | 0.870±0.028 | 0.540±0.044 | 0.666±0.036 |
| CNN-LSTM | 0.568±0.060 | 0.579±0.052 | 0.561±0.054 | 0.622±0.071 | 0.589±0.059 |
| ResNet50 | 0.690±0.040 | 0.752±0.039 | 0.740±0.066 | 0.589±0.040 | 0.655±0.041 |
| STFFDA | 0.632±0.036 | 0.692±0.028 | 0.632±0.045 | 0.637±0.033 | 0.633±0.028 |
| CWT-DCNN | 0.619±0.021 | 0.671±0.025 | 0.640±0.034 | 0.548±0.066 | 0.588±0.037 |
| SC-LSTM | 0.777±0.015 | 0.856±0.013 | 0.837±0.073 | 0.703±0.099 | 0.757±0.031 |

Additional Table 54

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=1, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.681±0.032 | 0.886±0.021 | 0.959±0.048 | 0.372±0.083 | 0.531±0.078 |
| CNN-LSTM | 0.677±0.029 | 0.726±0.022 | 0.669±0.035 | 0.685±0.034 | 0.676±0.028 |
| ResNet50 | 0.733±0.037 | 0.811±0.031 | 0.778±0.032 | 0.638±0.062 | 0.701±0.048 |
| STFFDA | 0.656±0.023 | 0.726±0.040 | 0.656±0.024 | 0.636±0.048 | 0.645±0.030 |
| CWT-DCNN | 0.632±0.047 | 0.689±0.043 | 0.636±0.062 | 0.604±0.058 | 0.618±0.047 |
| SC-LSTM | 0.789±0.040 | 0.887±0.024 | 0.859±0.055 | 0.694±0.123 | 0.759±0.072 |

Additional Table 55

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=2, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.737±0.022 | 0.903±0.020 | 0.945±0.027 | 0.503±0.048 | 0.655±0.042 |
| CNN-LSTM | 0.713±0.084 | 0.774±0.098 | 0.716±0.088 | 0.709±0.080 | 0.712±0.082 |
| ResNet50 | 0.775±0.032 | 0.857±0.029 | 0.814±0.053 | 0.716±0.021 | 0.762±0.028 |
| STFFDA | 0.699±0.032 | 0.780±0.037 | 0.706±0.042 | 0.688±0.024 | 0.696±0.027 |
| CWT-DCNN | 0.684±0.018 | 0.725±0.015 | 0.682±0.018 | 0.689±0.045 | 0.685±0.024 |
| SC-LSTM | 0.819±0.013 | 0.914±0.011 | 0.882±0.053 | 0.744±0.050 | 0.804±0.011 |

Additional Table 56

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=2, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.746±0.040 | 0.882±0.008 | 0.922±0.031 | 0.536±0.094 | 0.673±0.075 |
| CNN-LSTM | 0.688±0.083 | 0.733±0.104 | 0.682±0.079 | 0.695±0.096 | 0.688±0.087 |
| ResNet50 | 0.749±0.013 | 0.835±0.012 | 0.782±0.014 | 0.687±0.026 | 0.732±0.017 |
| STFFDA | 0.678±0.015 | 0.753±0.023 | 0.681±0.020 | 0.663±0.007 | 0.672±0.010 |
| CWT-DCNN | 0.616±0.010 | 0.660±0.016 | 0.611±0.018 | 0.636±0.068 | 0.621±0.024 |
| SC-LSTM | 0.818±0.019 | 0.892±0.009 | 0.852±0.021 | 0.768±0.050 | 0.807±0.025 |

Additional Table 57

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=2, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.761±0.035 | 0.918±0.012 | 0.958±0.028 | 0.546±0.092 | 0.690±0.068 |
| CNN-LSTM | 0.780±0.014 | 0.847±0.014 | 0.787±0.023 | 0.763±0.027 | 0.774±0.015 |
| ResNet50 | 0.789±0.012 | 0.873±0.011 | 0.831±0.013 | 0.720±0.018 | 0.772±0.014 |
| STFFDA | 0.736±0.007 | 0.821±0.014 | 0.739±0.013 | 0.724±0.030 | 0.731±0.012 |
| CWT-DCNN | 0.659±0.021 | 0.719±0.023 | 0.659±0.028 | 0.654±0.055 | 0.654±0.029 |
| SC-LSTM | 0.851±0.006 | 0.934±0.013 | 0.911±0.025 | 0.778±0.027 | 0.839±0.008 |

Additional Table 58

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=5, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.830±0.024 | 0.944±0.012 | 0.956±0.012 | 0.691±0.050 | 0.801±0.034 |
| CNN-LSTM | 0.816±0.019 | 0.878±0.016 | 0.811±0.024 | 0.823±0.028 | 0.817±0.019 |
| ResNet50 | 0.822±0.023 | 0.900±0.016 | 0.841±0.025 | 0.793±0.035 | 0.816±0.025 |
| STFFDA | 0.779±0.013 | 0.863±0.017 | 0.780±0.017 | 0.777±0.031 | 0.778±0.016 |
| CWT-DCNN | 0.680±0.023 | 0.738±0.027 | 0.682±0.024 | 0.680±0.083 | 0.678±0.037 |
| SC-LSTM | 0.871±0.017 | 0.949±0.008 | 0.918±0.024 | 0.815±0.048 | 0.863±0.021 |

Additional Table 59

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=5, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.798±0.015 | 0.935±0.003 | 0.949±0.026 | 0.629±0.047 | 0.756±0.026 |
| CNN-LSTM | 0.816±0.010 | 0.874±0.011 | 0.805±0.021 | 0.832±0.019 | 0.818±0.008 |
| ResNet50 | 0.807±0.011 | 0.882±0.013 | 0.827±0.015 | 0.776±0.022 | 0.800±0.012 |
| STFFDA | 0.765±0.015 | 0.852±0.008 | 0.768±0.013 | 0.758±0.029 | 0.763±0.018 |
| CWT-DCNN | 0.675±0.013 | 0.741±0.011 | 0.679±0.010 | 0.658±0.057 | 0.667±0.028 |
| SC-LSTM | 0.862±0.011 | 0.940±0.004 | 0.907±0.022 | 0.806±0.035 | 0.853±0.015 |

Additional Table 60

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=5, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.824±0.009 | 0.955±0.004 | 0.957±0.018 | 0.680±0.025 | 0.795±0.013 |
| CNN-LSTM | 0.842±0.020 | 0.890±0.025 | 0.850±0.012 | 0.832±0.052 | 0.840±0.025 |
| ResNet50 | 0.824±0.009 | 0.912±0.008 | 0.840±0.021 | 0.802±0.038 | 0.820±0.013 |
| STFFDA | 0.777±0.012 | 0.863±0.011 | 0.778±0.019 | 0.777±0.027 | 0.777±0.013 |
| CWT-DCNN | 0.706±0.017 | 0.788±0.018 | 0.719±0.015 | 0.677±0.043 | 0.697±0.025 |
| SC-LSTM | 0.893±0.011 | 0.959±0.002 | 0.928±0.023 | 0.854±0.021 | 0.889±0.012 |

Additional Table 61

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=10, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.861±0.024 | 0.965±0.005 | 0.969±0.006 | 0.745±0.051 | 0.842±0.031 |
| CNN-LSTM | 0.869±0.018 | 0.921±0.013 | 0.886±0.022 | 0.846±0.037 | 0.865±0.021 |
| ResNet50 | 0.852±0.002 | 0.926±0.005 | 0.865±0.010 | 0.834±0.014 | 0.849±0.004 |
| STFFDA | 0.813±0.014 | 0.894±0.013 | 0.805±0.011 | 0.824±0.025 | 0.814±0.016 |
| CWT-DCNN | 0.739±0.012 | 0.826±0.013 | 0.739±0.014 | 0.739±0.040 | 0.738±0.018 |
| SC-LSTM | 0.909±0.009 | 0.970±0.004 | 0.951±0.007 | 0.862±0.014 | 0.904±0.009 |

Additional Table 62

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=10, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.826±0.031 | 0.960±0.007 | 0.972±0.010 | 0.672±0.064 | 0.793±0.044 |
| CNN-LSTM | 0.869±0.019 | 0.917±0.016 | 0.878±0.019 | 0.857±0.030 | 0.867±0.020 |
| ResNet50 | 0.848±0.009 | 0.918±0.005 | 0.865±0.008 | 0.825±0.017 | 0.844±0.010 |
| STFFDA | 0.761±0.029 | 0.862±0.008 | 0.819±0.057 | 0.689±0.137 | 0.735±0.069 |
| CWT-DCNN | 0.703±0.010 | 0.776±0.012 | 0.710±0.033 | 0.694±0.055 | 0.699±0.017 |
| SC-LSTM | 0.899±0.005 | 0.964±0.003 | 0.931±0.010 | 0.863±0.014 | 0.895±0.006 |

Additional Table 63

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=10, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.851±0.006 | 0.969±0.005 | 0.977±0.008 | 0.719±0.008 | 0.828±0.007 |
| CNN-LSTM | 0.870±0.005 | 0.913±0.010 | 0.871±0.010 | 0.870±0.011 | 0.870±0.005 |
| ResNet50 | 0.872±0.011 | 0.944±0.006 | 0.886±0.015 | 0.846±0.019 | 0.865±0.010 |
| STFFDA | 0.814±0.009 | 0.894±0.004 | 0.814±0.010 | 0.813±0.023 | 0.813±0.011 |
| CWT-DCNN | 0.713±0.029 | 0.796±0.030 | 0.704±0.046 | 0.749±0.061 | 0.722±0.024 |
| SC-LSTM | 0.913±0.007 | 0.974±0.002 | 0.960±0.007 | 0.862±0.017 | 0.908±0.008 |

Additional Table 64

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=20, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.878±0.022 | 0.980±0.002 | 0.985±0.005 | 0.767±0.048 | 0.861±0.029 |
| CNN-LSTM | 0.908±0.004 | 0.948±0.011 | 0.925±0.011 | 0.887±0.011 | 0.906±0.004 |
| ResNet50 | 0.885±0.010 | 0.952±0.007 | 0.909±0.014 | 0.856±0.008 | 0.881±0.009 |
| STFFDA | 0.824±0.014 | 0.915±0.007 | 0.819±0.050 | 0.841±0.063 | 0.826±0.012 |
| CWT-DCNN | 0.753±0.018 | 0.838±0.016 | 0.754±0.027 | 0.752±0.026 | 0.753±0.018 |
| SC-LSTM | 0.934±0.003 | 0.984±0.002 | 0.968±0.016 | 0.897±0.015 | 0.931±0.003 |

Additional Table 65

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=20, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.882±0.010 | 0.977±0.003 | 0.978±0.006 | 0.781±0.023 | 0.868±0.013 |
| CNN-LSTM | 0.892±0.006 | 0.934±0.007 | 0.898±0.011 | 0.886±0.021 | 0.891±0.008 |
| ResNet50 | 0.878±0.005 | 0.946±0.008 | 0.886±0.006 | 0.866±0.009 | 0.876±0.005 |
| STFFDA | 0.818±0.006 | 0.906±0.005 | 0.808±0.020 | 0.835±0.032 | 0.821±0.008 |
| CWT-DCNN | 0.729±0.029 | 0.808±0.031 | 0.755±0.050 | 0.687±0.062 | 0.716±0.033 |
| SC-LSTM | 0.924±0.008 | 0.978±0.001 | 0.959±0.008 | 0.885±0.024 | 0.921±0.010 |

Additional Table 66

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=20, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.874±0.010 | 0.982±0.002 | 0.986±0.006 | 0.758±0.023 | 0.857±0.013 |
| CNN-LSTM | 0.920±0.003 | 0.960±0.004 | 0.929±0.011 | 0.909±0.015 | 0.919±0.003 |
| ResNet50 | 0.894±0.005 | 0.958±0.004 | 0.915±0.014 | 0.868±0.010 | 0.891±0.005 |
| STFFDA | 0.840±0.007 | 0.919±0.005 | 0.838±0.016 | 0.842±0.019 | 0.840±0.007 |
| CWT-DCNN | 0.755±0.023 | 0.845±0.025 | 0.741±0.038 | 0.791±0.045 | 0.763±0.021 |
| SC-LSTM | 0.939±0.006 | 0.987±0.000 | 0.973±0.001 | 0.903±0.012 | 0.937±0.007 |

Additional Table 67

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=10000, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.910 | 0.990 | 0.995 | 0.824 | 0.901 |
| CNN-LSTM | 0.939 | 0.970 | 0.950 | 0.928 | 0.939 |
| ResNet50 | 0.932 | 0.980 | 0.947 | 0.915 | 0.931 |
| STFFDA | 0.639 | 0.923 | 0.581 | 0.997 | 0.734 |
| CWT-DCNN | 0.823 | 0.908 | 0.863 | 0.768 | 0.813 |
| SC-LSTM | 0.965 | 0.995 | 0.989 | 0.940 | 0.964 |

Additional Table 68

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=10000, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.913 | 0.991 | 0.995 | 0.831 | 0.905 |
| CNN-LSTM | 0.957 | 0.977 | 0.965 | 0.948 | 0.956 |
| ResNet50 | 0.927 | 0.978 | 0.934 | 0.919 | 0.926 |
| STFFDA | 0.857 | 0.944 | 0.813 | 0.927 | 0.867 |
| CWT-DCNN | 0.754 | 0.853 | 0.731 | 0.810 | 0.769 |
| SC-LSTM | 0.964 | 0.994 | 0.986 | 0.941 | 0.963 |

Additional Table 69

Comparison of different models on Helsinki University Hospital dataset

window=5, chunk=10000, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.902 | 0.991 | 0.997 | 0.806 | 0.892 |
| CNN-LSTM | 0.950 | 0.973 | 0.954 | 0.946 | 0.950 |
| ResNet50 | 0.925 | 0.979 | 0.934 | 0.915 | 0.924 |
| STFFDA | 0.872 | 0.947 | 0.854 | 0.898 | 0.875 |
| CWT-DCNN | 0.814 | 0.909 | 0.837 | 0.794 | 0.815 |
| SC-LSTM | 0.965 | 0.993 | 0.983 | 0.946 | 0.964 |

Additional Table 70

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=1, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.742±0.047 | 0.909±0.019 | 0.976±0.016 | 0.489±0.105 | 0.646±0.093 |
| CNN-LSTM | 0.608±0.101 | 0.638±0.109 | 0.603±0.105 | 0.602±0.117 | 0.601±0.104 |
| ResNet50 | 0.785±0.022 | 0.881±0.031 | 0.827±0.055 | 0.716±0.029 | 0.766±0.020 |
| STFFDA | 0.697±0.029 | 0.761±0.022 | 0.691±0.040 | 0.703±0.026 | 0.696±0.026 |
| CWT-DCNN | 0.638±0.014 | 0.682±0.028 | 0.655±0.044 | 0.586±0.096 | 0.611±0.044 |
| SC-LSTM | 0.835±0.025 | 0.915±0.016 | 0.901±0.062 | 0.753±0.112 | 0.814±0.043 |

Additional Table 71

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=1, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.704±0.024 | 0.871±0.014 | 0.943±0.042 | 0.428±0.031 | 0.589±0.037 |
| CNN-LSTM | 0.607±0.020 | 0.609±0.035 | 0.598±0.019 | 0.638±0.072 | 0.616±0.035 |
| ResNet50 | 0.744±0.036 | 0.836±0.035 | 0.809±0.053 | 0.636±0.037 | 0.712±0.039 |
| STFFDA | 0.667±0.023 | 0.714±0.023 | 0.661±0.027 | 0.677±0.021 | 0.668±0.018 |
| CWT-DCNN | 0.669±0.039 | 0.723±0.040 | 0.660±0.045 | 0.692±0.029 | 0.675±0.034 |
| SC-LSTM | 0.813±0.014 | 0.886±0.015 | 0.917±0.037 | 0.687±0.041 | 0.784±0.021 |

Additional Table 72

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=1, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.688±0.023 | 0.911±0.015 | 0.994±0.014 | 0.379±0.046 | 0.547±0.050 |
| CNN-LSTM | 0.630±0.108 | 0.663±0.123 | 0.637±0.119 | 0.610±0.106 | 0.623±0.110 |
| ResNet50 | 0.789±0.042 | 0.883±0.031 | 0.842±0.020 | 0.710±0.082 | 0.769±0.053 |
| STFFDA | 0.710±0.022 | 0.769±0.023 | 0.719±0.015 | 0.691±0.058 | 0.703±0.031 |
| CWT-DCNN | 0.645±0.056 | 0.709±0.063 | 0.653±0.085 | 0.649±0.012 | 0.649±0.039 |
| SC-LSTM | 0.841±0.011 | 0.918±0.022 | 0.883±0.049 | 0.792±0.065 | 0.832±0.016 |

Additional Table 73

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=2, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.732±0.019 | 0.926±0.014 | 0.969±0.011 | 0.480±0.040 | 0.641±0.036 |
| CNN-LSTM | 0.814±0.011 | 0.872±0.013 | 0.815±0.032 | 0.815±0.024 | 0.814±0.006 |
| ResNet50 | 0.822±0.017 | 0.913±0.011 | 0.884±0.022 | 0.741±0.030 | 0.806±0.020 |
| STFFDA | 0.733±0.023 | 0.810±0.018 | 0.765±0.039 | 0.677±0.056 | 0.716±0.029 |
| CWT-DCNN | 0.681±0.043 | 0.741±0.058 | 0.674±0.054 | 0.712±0.040 | 0.691±0.036 |
| SC-LSTM | 0.867±0.023 | 0.945±0.011 | 0.916±0.031 | 0.811±0.066 | 0.858±0.030 |

Additional Table 74

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=2, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.765±0.026 | 0.920±0.018 | 0.970±0.019 | 0.540±0.049 | 0.693±0.042 |
| CNN-LSTM | 0.796±0.014 | 0.866±0.012 | 0.793±0.010 | 0.794±0.022 | 0.793±0.015 |
| ResNet50 | 0.806±0.013 | 0.894±0.006 | 0.862±0.028 | 0.723±0.017 | 0.786±0.014 |
| STFFDA | 0.722±0.024 | 0.801±0.018 | 0.715±0.016 | 0.725±0.058 | 0.719±0.033 |
| CWT-DCNN | 0.646±0.024 | 0.709±0.027 | 0.663±0.052 | 0.594±0.056 | 0.622±0.019 |
| SC-LSTM | 0.861±0.013 | 0.935±0.012 | 0.879±0.056 | 0.842±0.087 | 0.856±0.021 |

Additional Table 75

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=2, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.768±0.025 | 0.946±0.013 | 0.981±0.015 | 0.546±0.051 | 0.701±0.043 |
| CNN-LSTM | 0.831±0.010 | 0.889±0.015 | 0.820±0.024 | 0.850±0.029 | 0.834±0.009 |
| ResNet50 | 0.845±0.015 | 0.923±0.010 | 0.886±0.023 | 0.791±0.036 | 0.835±0.018 |
| STFFDA | 0.736±0.016 | 0.821±0.019 | 0.747±0.018 | 0.712±0.033 | 0.729±0.020 |
| CWT-DCNN | 0.663±0.015 | 0.727±0.022 | 0.664±0.021 | 0.663±0.062 | 0.661±0.028 |
| SC-LSTM | 0.870±0.031 | 0.959±0.010 | 0.943±0.028 | 0.789±0.078 | 0.857±0.040 |

Additional Table 76

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=5, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.810±0.041 | 0.965±0.009 | 0.984±0.008 | 0.627±0.081 | 0.764±0.062 |
| CNN-LSTM | 0.872±0.013 | 0.928±0.009 | 0.876±0.031 | 0.867±0.039 | 0.871±0.014 |
| ResNet50 | 0.883±0.020 | 0.945±0.016 | 0.913±0.011 | 0.844±0.036 | 0.877±0.022 |
| STFFDA | 0.803±0.019 | 0.891±0.015 | 0.839±0.024 | 0.750±0.048 | 0.790±0.025 |
| CWT-DCNN | 0.684±0.015 | 0.746±0.013 | 0.685±0.028 | 0.681±0.049 | 0.681±0.016 |
| SC-LSTM | 0.911±0.015 | 0.975±0.008 | 0.958±0.009 | 0.858±0.040 | 0.905±0.018 |

Additional Table 77

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=5, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.801±0.019 | 0.960±0.007 | 0.989±0.011 | 0.606±0.043 | 0.751±0.032 |
| CNN-LSTM | 0.868±0.015 | 0.921±0.017 | 0.876±0.030 | 0.857±0.007 | 0.866±0.013 |
| ResNet50 | 0.862±0.017 | 0.937±0.012 | 0.896±0.016 | 0.818±0.030 | 0.855±0.019 |
| STFFDA | 0.790±0.014 | 0.882±0.013 | 0.828±0.035 | 0.736±0.071 | 0.775±0.029 |
| CWT-DCNN | 0.698±0.035 | 0.765±0.042 | 0.704±0.044 | 0.682±0.043 | 0.692±0.034 |
| SC-LSTM | 0.907±0.004 | 0.971±0.004 | 0.949±0.014 | 0.859±0.012 | 0.901±0.005 |

Additional Table 78

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=5, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.826±0.048 | 0.969±0.008 | 0.991±0.010 | 0.656±0.105 | 0.785±0.068 |
| CNN-LSTM | 0.876±0.013 | 0.926±0.014 | 0.854±0.031 | 0.909±0.022 | 0.880±0.009 |
| ResNet50 | 0.878±0.012 | 0.951±0.005 | 0.909±0.023 | 0.841±0.024 | 0.873±0.013 |
| STFFDA | 0.818±0.019 | 0.898±0.016 | 0.806±0.020 | 0.835±0.033 | 0.820±0.020 |
| CWT-DCNN | 0.706±0.013 | 0.780±0.016 | 0.692±0.021 | 0.744±0.069 | 0.714±0.025 |
| SC-LSTM | 0.913±0.014 | 0.981±0.005 | 0.974±0.013 | 0.849±0.025 | 0.907±0.016 |

Additional Table 79

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=10, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.861±0.027 | 0.981±0.002 | 0.996±0.004 | 0.724±0.057 | 0.837±0.037 |
| CNN-LSTM | 0.905±0.009 | 0.946±0.008 | 0.897±0.020 | 0.914±0.018 | 0.905±0.008 |
| ResNet50 | 0.901±0.010 | 0.965±0.004 | 0.920±0.010 | 0.877±0.029 | 0.898±0.012 |
| STFFDA | 0.823±0.015 | 0.921±0.006 | 0.809±0.054 | 0.856±0.060 | 0.828±0.006 |
| CWT-DCNN | 0.744±0.013 | 0.832±0.010 | 0.754±0.026 | 0.724±0.038 | 0.738±0.015 |
| SC-LSTM | 0.932±0.011 | 0.986±0.002 | 0.983±0.012 | 0.879±0.028 | 0.928±0.013 |

Additional Table 80

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=10, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.853±0.025 | 0.979±0.007 | 0.992±0.005 | 0.710±0.051 | 0.827±0.035 |
| CNN-LSTM | 0.904±0.009 | 0.943±0.008 | 0.898±0.023 | 0.910±0.014 | 0.904±0.008 |
| ResNet50 | 0.893±0.005 | 0.959±0.003 | 0.912±0.011 | 0.869±0.012 | 0.890±0.005 |
| STFFDA | 0.765±0.051 | 0.882±0.011 | 0.729±0.075 | 0.878±0.074 | 0.790±0.025 |
| CWT-DCNN | 0.723±0.017 | 0.801±0.029 | 0.722±0.023 | 0.726±0.043 | 0.723±0.021 |
| SC-LSTM | 0.936±0.009 | 0.985±0.003 | 0.952±0.007 | 0.939±0.030 | 0.945±0.016 |

Additional Table 81

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=10, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.855±0.022 | 0.984±0.002 | 0.995±0.004 | 0.714±0.047 | 0.831±0.031 |
| CNN-LSTM | 0.906±0.010 | 0.947±0.008 | 0.894±0.022 | 0.922±0.029 | 0.908±0.010 |
| ResNet50 | 0.911±0.006 | 0.971±0.006 | 0.938±0.011 | 0.880±0.006 | 0.908±0.006 |
| STFFDA | 0.835±0.005 | 0.916±0.005 | 0.839±0.011 | 0.829±0.015 | 0.834±0.006 |
| CWT-DCNN | 0.754±0.020 | 0.840±0.029 | 0.757±0.016 | 0.747±0.044 | 0.751±0.026 |
| SC-LSTM | 0.938±0.013 | 0.990±0.002 | 0.986±0.007 | 0.889±0.028 | 0.935±0.014 |

Additional Table 82

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=20, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.876±0.015 | 0.987±0.003 | 0.997±0.002 | 0.753±0.029 | 0.857±0.019 |
| CNN-LSTM | 0.930±0.006 | 0.965±0.006 | 0.931±0.013 | 0.929±0.008 | 0.930±0.006 |
| ResNet50 | 0.926±0.009 | 0.976±0.004 | 0.945±0.004 | 0.904±0.020 | 0.924±0.010 |
| STFFDA | 0.859±0.017 | 0.936±0.013 | 0.844±0.018 | 0.880±0.025 | 0.861±0.017 |
| CWT-DCNN | 0.776±0.022 | 0.865±0.015 | 0.765±0.047 | 0.806±0.042 | 0.782±0.013 |
| SC-LSTM | 0.948±0.008 | 0.990±0.002 | 0.987±0.002 | 0.907±0.016 | 0.945±0.009 |

Additional Table 83

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=20, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.865±0.010 | 0.984±0.002 | 0.995±0.002 | 0.733±0.021 | 0.844±0.014 |
| CNN-LSTM | 0.924±0.012 | 0.960±0.009 | 0.927±0.028 | 0.922±0.011 | 0.924±0.011 |
| ResNet50 | 0.911±0.009 | 0.969±0.005 | 0.926±0.022 | 0.894±0.010 | 0.909±0.009 |
| STFFDA | 0.835±0.014 | 0.924±0.008 | 0.811±0.040 | 0.879±0.053 | 0.841±0.014 |
| CWT-DCNN | 0.737±0.015 | 0.817±0.023 | 0.730±0.025 | 0.754±0.057 | 0.740±0.020 |
| SC-LSTM | 0.942±0.006 | 0.989±0.002 | 0.978±0.006 | 0.905±0.012 | 0.940±0.007 |

Additional Table 84

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=20, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.883±0.014 | 0.989±0.002 | 0.996±0.003 | 0.769±0.029 | 0.867±0.018 |
| CNN-LSTM | 0.938±0.015 | 0.965±0.011 | 0.942±0.023 | 0.934±0.016 | 0.938±0.014 |
| ResNet50 | 0.932±0.006 | 0.980±0.003 | 0.949±0.007 | 0.913±0.014 | 0.931±0.007 |
| STFFDA | 0.858±0.010 | 0.939±0.005 | 0.842±0.015 | 0.882±0.021 | 0.861±0.010 |
| CWT-DCNN | 0.762±0.028 | 0.851±0.024 | 0.752±0.046 | 0.790±0.056 | 0.768±0.025 |
| SC-LSTM | 0.952±0.007 | 0.994±0.002 | 0.987±0.002 | 0.915±0.014 | 0.950±0.007 |

Additional Table 85

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=10000, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.893 | 0.992 | 1.000 | 0.786 | 0.880 |
| CNN-LSTM | 0.951 | 0.977 | 0.963 | 0.937 | 0.950 |
| ResNet50 | 0.942 | 0.986 | 0.956 | 0.927 | 0.941 |
| STFFDA | 0.877 | 0.947 | 0.896 | 0.851 | 0.873 |
| CWT-DCNN | 0.810 | 0.883 | 0.806 | 0.794 | 0.800 |
| SC-LSTM | 0.967 | 0.994 | 0.981 | 0.953 | 0.967 |

Additional Table 86

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=10000, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.918 | 0.992 | 0.999 | 0.836 | 0.910 |
| CNN-LSTM | 0.961 | 0.982 | 0.973 | 0.949 | 0.961 |
| ResNet50 | 0.934 | 0.981 | 0.965 | 0.901 | 0.932 |
| STFFDA | 0.802 | 0.946 | 0.727 | 0.964 | 0.829 |
| CWT-DCNN | 0.807 | 0.881 | 0.808 | 0.808 | 0.808 |
| SC-LSTM | 0.965 | 0.995 | 0.986 | 0.944 | 0.964 |

Additional Table 87

Comparison of different models on Helsinki University Hospital dataset

window=10, chunk=10000, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.862 | 0.993 | 0.998 | 0.725 | 0.840 |
| CNN-LSTM | 0.952 | 0.979 | 0.975 | 0.928 | 0.951 |
| ResNet50 | 0.940 | 0.986 | 0.960 | 0.919 | 0.939 |
| STFFDA | 0.961 | 0.837 | 0.945 | 0.888 | 0.881 |
| CWT-DCNN | 0.830 | 0.906 | 0.882 | 0.789 | 0.833 |
| SC-LSTM | 0.960 | 0.994 | 0.990 | 0.930 | 0.959 |

Additional Table 88

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=1, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.669±0.039 | 0.918±0.012 | 1.000±0.000 | 0.328±0.079 | 0.490±0.092 |
| CNN-LSTM | 0.635±0.098 | 0.683±0.136 | 0.618±0.088 | 0.653±0.148 | 0.634±0.115 |
| ResNet50 | 0.798±0.028 | 0.896±0.018 | 0.879±0.052 | 0.691±0.081 | 0.770±0.043 |
| STFFDA | 0.646±0.038 | 0.707±0.019 | 0.649±0.042 | 0.616±0.061 | 0.630±0.044 |
| CWT-DCNN | 0.628±0.064 | 0.695±0.046 | 0.632±0.072 | 0.569±0.107 | 0.597±0.089 |
| SC-LSTM | 0.846±0.029 | 0.955±0.016 | 0.963±0.021 | 0.716±0.063 | 0.820±0.040 |

Additional Table 89

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=1, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.687±0.055 | 0.919±0.032 | 0.979±0.029 | 0.370±0.114 | 0.529±0.117 |
| CNN-LSTM | 0.570±0.106 | 0.602±0.133 | 0.565±0.113 | 0.577±0.077 | 0.570±0.094 |
| ResNet50 | 0.797±0.014 | 0.882±0.026 | 0.880±0.045 | 0.681±0.024 | 0.767±0.013 |
| STFFDA | 0.661±0.029 | 0.712±0.027 | 0.669±0.039 | 0.616±0.032 | 0.640±0.026 |
| CWT-DCNN | 0.643±0.022 | 0.696±0.035 | 0.638±0.033 | 0.639±0.033 | 0.637±0.014 |
| SC-LSTM | 0.842±0.042 | 0.929±0.020 | 0.903±0.019 | 0.761±0.098 | 0.822±0.057 |

Additional Table 90

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=1, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.674±0.048 | 0.951±0.005 | 0.986±0.020 | 0.350±0.098 | 0.509±0.112 |
| CNN-LSTM | 0.692±0.162 | 0.738±0.204 | 0.677±0.151 | 0.724±0.179 | 0.699±0.160 |
| ResNet50 | 0.833±0.024 | 0.925±0.012 | 0.922±0.027 | 0.726±0.055 | 0.811±0.034 |
| STFFDA | 0.685±0.026 | 0.739±0.026 | 0.689±0.038 | 0.675±0.036 | 0.680±0.022 |
| CWT-DCNN | 0.677±0.045 | 0.734±0.060 | 0.683±0.063 | 0.667±0.044 | 0.673±0.040 |
| SC-LSTM | 0.863±0.023 | 0.950±0.011 | 0.915±0.062 | 0.805±0.067 | 0.853±0.026 |

Additional Table 91

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=2, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.722±0.057 | 0.959±0.009 | 1.000±0.000 | 0.437±0.114 | 0.601±0.104 |
| CNN-LSTM | 0.826±0.015 | 0.904±0.021 | 0.803±0.028 | 0.862±0.036 | 0.830±0.014 |
| ResNet50 | 0.865±0.018 | 0.943±0.009 | 0.896±0.031 | 0.824±0.033 | 0.858±0.019 |
| STFFDA | 0.732±0.024 | 0.808±0.035 | 0.733±0.030 | 0.720±0.036 | 0.726±0.025 |
| CWT-DCNN | 0.653±0.070 | 0.715±0.071 | 0.645±0.071 | 0.664±0.067 | 0.654±0.068 |
| SC-LSTM | 0.895±0.039 | 0.978±0.008 | 0.960±0.051 | 0.829±0.114 | 0.884±0.052 |

Additional Table 92

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=2, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.715±0.022 | 0.955±0.006 | 0.986±0.021 | 0.428±0.049 | 0.595±0.046 |
| CNN-LSTM | 0.727±0.149 | 0.782±0.165 | 0.735±0.165 | 0.717±0.130 | 0.724±0.142 |
| ResNet50 | 0.849±0.028 | 0.929±0.021 | 0.896±0.034 | 0.785±0.057 | 0.836±0.035 |
| STFFDA | 0.733±0.019 | 0.806±0.014 | 0.732±0.017 | 0.722±0.048 | 0.726±0.027 |
| CWT-DCNN | 0.658±0.035 | 0.706±0.032 | 0.654±0.035 | 0.649±0.051 | 0.651±0.038 |
| SC-LSTM | 0.888±0.027 | 0.971±0.008 | 0.980±0.013 | 0.788±0.058 | 0.873±0.035 |

Additional Table 93

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=2, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.734±0.048 | 0.966±0.009 | 1.000±0.000 | 0.467±0.096 | 0.632±0.090 |
| CNN-LSTM | 0.797±0.119 | 0.856±0.125 | 0.793±0.122 | 0.805±0.124 | 0.798±0.118 |
| ResNet50 | 0.864±0.023 | 0.948±0.014 | 0.929±0.031 | 0.789±0.059 | 0.852±0.031 |
| STFFDA | 0.757±0.041 | 0.844±0.036 | 0.763±0.047 | 0.748±0.062 | 0.754±0.042 |
| CWT-DCNN | 0.689±0.028 | 0.763±0.039 | 0.684±0.033 | 0.702±0.052 | 0.692±0.030 |
| SC-LSTM | 0.877±0.042 | 0.983±0.005 | 0.972±0.038 | 0.781±0.119 | 0.860±0.057 |

Additional Table 94

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=5, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.803±0.034 | 0.981±0.005 | 0.995±0.004 | 0.607±0.069 | 0.752±0.051 |
| CNN-LSTM | 0.906±0.003 | 0.959±0.006 | 0.936±0.023 | 0.871±0.027 | 0.902±0.004 |
| ResNet50 | 0.912±0.012 | 0.971±0.007 | 0.952±0.016 | 0.866±0.015 | 0.907±0.013 |
| STFFDA | 0.846±0.018 | 0.916±0.013 | 0.864±0.039 | 0.824±0.013 | 0.842±0.015 |
| CWT-DCNN | 0.710±0.027 | 0.785±0.018 | 0.705±0.057 | 0.738±0.057 | 0.717±0.011 |
| SC-LSTM | 0.933±0.015 | 0.988±0.006 | 0.981±0.008 | 0.884±0.031 | 0.930±0.017 |

Additional Table 95

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=5, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.793±0.053 | 0.972±0.007 | 0.996±0.004 | 0.589±0.105 | 0.736±0.083 |
| CNN-LSTM | 0.910±0.014 | 0.958±0.006 | 0.926±0.020 | 0.892±0.026 | 0.909±0.015 |
| ResNet50 | 0.896±0.009 | 0.966±0.007 | 0.924±0.023 | 0.864±0.010 | 0.893±0.008 |
| STFFDA | 0.811±0.026 | 0.900±0.018 | 0.830±0.025 | 0.785±0.056 | 0.805±0.031 |
| CWT-DCNN | 0.689±0.034 | 0.758±0.044 | 0.702±0.032 | 0.659±0.092 | 0.676±0.048 |
| SC-LSTM | 0.922±0.012 | 0.986±0.004 | 0.979±0.013 | 0.863±0.027 | 0.917±0.013 |

Additional Table 96

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=5, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.822±0.028 | 0.980±0.007 | 0.999±0.003 | 0.642±0.056 | 0.781±0.041 |
| CNN-LSTM | 0.907±0.020 | 0.958±0.008 | 0.896±0.043 | 0.922±0.024 | 0.908±0.018 |
| ResNet50 | 0.918±0.012 | 0.974±0.007 | 0.945±0.020 | 0.887±0.008 | 0.915±0.012 |
| STFFDA | 0.818±0.014 | 0.902±0.013 | 0.809±0.030 | 0.832±0.037 | 0.819±0.014 |
| CWT-DCNN | 0.751±0.033 | 0.822±0.042 | 0.766±0.048 | 0.726±0.031 | 0.744±0.029 |
| SC-LSTM | 0.936±0.009 | 0.989±0.004 | 0.988±0.011 | 0.882±0.019 | 0.932±0.010 |

Additional Table 97

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=10, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.828±0.033 | 0.984±0.005 | 0.998±0.003 | 0.656±0.068 | 0.790±0.050 |
| CNN-LSTM | 0.923±0.011 | 0.967±0.005 | 0.925±0.035 | 0.922±0.044 | 0.922±0.012 |
| ResNet50 | 0.925±0.018 | 0.980±0.007 | 0.952±0.019 | 0.895±0.024 | 0.923±0.019 |
| STFFDA | 0.848±0.015 | 0.928±0.009 | 0.861±0.035 | 0.832±0.035 | 0.845±0.014 |
| CWT-DCNN | 0.717±0.029 | 0.796±0.026 | 0.749±0.046 | 0.663±0.105 | 0.695±0.059 |
| SC-LSTM | 0.937±0.017 | 0.992±0.003 | 0.994±0.004 | 0.880±0.037 | 0.933±0.020 |

Additional Table 98

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=10, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.794±0.023 | 0.977±0.004 | 0.995±0.003 | 0.589±0.049 | 0.739±0.038 |
| CNN-LSTM | 0.921±0.009 | 0.958±0.005 | 0.922±0.025 | 0.920±0.018 | 0.921±0.007 |
| ResNet50 | 0.909±0.004 | 0.971±0.003 | 0.940±0.010 | 0.873±0.017 | 0.905±0.006 |
| STFFDA | 0.827±0.021 | 0.920±0.014 | 0.879±0.049 | 0.762±0.074 | 0.812±0.031 |
| CWT-DCNN | 0.698±0.033 | 0.768±0.039 | 0.689±0.034 | 0.720±0.053 | 0.703±0.035 |
| SC-LSTM | 0.943±0.005 | 0.990±0.003 | 0.977±0.006 | 0.901±0.023 | 0.937±0.010 |

Additional Table 99

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=10, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.825±0.031 | 0.985±0.004 | 0.997±0.002 | 0.650±0.064 | 0.785±0.046 |
| CNN-LSTM | 0.935±0.008 | 0.966±0.007 | 0.928±0.019 | 0.943±0.015 | 0.935±0.007 |
| ResNet50 | 0.929±0.007 | 0.980±0.005 | 0.952±0.011 | 0.903±0.017 | 0.927±0.008 |
| STFFDA | 0.855±0.013 | 0.937±0.008 | 0.851±0.046 | 0.868±0.054 | 0.857±0.009 |
| CWT-DCNN | 0.755±0.024 | 0.837±0.024 | 0.757±0.042 | 0.754±0.046 | 0.754±0.019 |
| SC-LSTM | 0.942±0.007 | 0.990±0.003 | 0.987±0.009 | 0.895±0.021 | 0.939±0.008 |

Additional Table 100

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=20, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.846±0.006 | 0.988±0.002 | 0.998±0.002 | 0.694±0.011 | 0.818±0.008 |
| CNN-LSTM | 0.923±0.014 | 0.967±0.013 | 0.907±0.028 | 0.944±0.014 | 0.925±0.013 |
| ResNet50 | 0.936±0.008 | 0.983±0.004 | 0.957±0.013 | 0.913±0.017 | 0.934±0.008 |
| STFFDA | 0.871±0.012 | 0.944±0.009 | 0.870±0.018 | 0.873±0.011 | 0.871±0.011 |
| CWT-DCNN | 0.766±0.022 | 0.848±0.026 | 0.760±0.024 | 0.777±0.056 | 0.767±0.028 |
| SC-LSTM | 0.956±0.004 | 0.993±0.001 | 0.990±0.006 | 0.921±0.006 | 0.954±0.004 |

Additional Table 101

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=20, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.836±0.014 | 0.985±0.005 | 0.996±0.003 | 0.674±0.030 | 0.804±0.021 |
| CNN-LSTM | 0.926±0.011 | 0.960±0.009 | 0.928±0.037 | 0.927±0.026 | 0.926±0.010 |
| ResNet50 | 0.930±0.007 | 0.979±0.003 | 0.950±0.012 | 0.908±0.015 | 0.929±0.008 |
| STFFDA | 0.855±0.011 | 0.933±0.005 | 0.866±0.030 | 0.842±0.059 | 0.852±0.019 |
| CWT-DCNN | 0.756±0.051 | 0.833±0.056 | 0.777±0.058 | 0.715±0.055 | 0.745±0.054 |
| SC-LSTM | 0.948±0.006 | 0.991±0.001 | 0.989±0.003 | 0.906±0.012 | 0.946±0.007 |

Additional Table 102

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=20, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.833±0.035 | 0.990±0.002 | 0.999±0.001 | 0.664±0.071 | 0.797±0.049 |
| CNN-LSTM | 0.933±0.017 | 0.970±0.013 | 0.937±0.033 | 0.929±0.013 | 0.933±0.016 |
| ResNet50 | 0.943±0.013 | 0.986±0.002 | 0.957±0.009 | 0.926±0.019 | 0.941±0.013 |
| STFFDA | 0.869±0.014 | 0.942±0.012 | 0.877±0.033 | 0.860±0.045 | 0.867±0.016 |
| CWT-DCNN | 0.782±0.045 | 0.864±0.045 | 0.791±0.052 | 0.768±0.050 | 0.778±0.043 |
| SC-LSTM | 0.954±0.009 | 0.994±0.001 | 0.991±0.002 | 0.916±0.020 | 0.952±0.010 |

Additional Table 103

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=10000, Expert=A

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.895 | 0.990 | 1.000 | 0.789 | 0.882 |
| CNN-LSTM | 0.944 | 0.982 | 0.965 | 0.921 | 0.942 |
| ResNet50 | 0.938 | 0.981 | 0.960 | 0.914 | 0.936 |
| STFFDA | 0.864 | 0.942 | 0.904 | 0.813 | 0.856 |
| CWT-DCNN | 0.775 | 0.859 | 0.758 | 0.809 | 0.782 |
| SC-LSTM | 0.963 | 0.995 | 0.992 | 0.933 | 0.962 |

Additional Table 104

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=10000, Expert=B

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.869 | 0.992 | 0.998 | 0.740 | 0.850 |
| CNN-LSTM | 0.950 | 0.975 | 0.960 | 0.938 | 0.949 |
| ResNet50 | 0.947 | 0.987 | 0.981 | 0.910 | 0.944 |
| STFFDA | 0.883 | 0.961 | 0.868 | 0.902 | 0.885 |
| CWT-DCNN | 0.741 | 0.822 | 0.733 | 0.738 | 0.736 |
| SC-LSTM | 0.961 | 0.995 | 0.982 | 0.940 | 0.961 |

Additional Table 105

Comparison of different models on Helsinki University Hospital dataset

window=20, chunk=10000, Expert=C

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.839 | 0.987 | 1.000 | 0.678 | 0.808 |
| CNN-LSTM | 0.963 | 0.989 | 0.985 | 0.940 | 0.962 |
| ResNet50 | 0.946 | 0.988 | 0.973 | 0.917 | 0.944 |
| STFFDA | 0.859 | 0.952 | 0.811 | 0.935 | 0.869 |
| CWT-DCNN | 0.780 | 0.865 | 0.774 | 0.792 | 0.783 |
| SC-LSTM | 0.962 | 0.995 | 0.997 | 0.898 | 0.945 |

Additional Table 106

Leave one patient out cross validation results (Expert A)

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.821±0.056 | 0.985±0.009 | 0.999±0.046 | 0.638±0.123 | 0.779±0.072 |
| CNN-LSTM | 0.915±0.032 | 0.981±0.011 | 0.875±0.055 | 0.966±0.034 | 0.918±0.029 |
| ResNet50 | 0.923±0.036 | 0.981±0.016 | 0.917±0.058 | 0.932±0.045 | 0.924±0.033 |
| STFFDA | 0.871±0.032 | 0.942±0.021 | 0.873±0.039 | 0.872±0.068 | 0.870±0.038 |
| CWT-DCNN | 0.785±0.046 | 0.871±0.044 | 0.794±0.054 | 0.776±0.083 | 0.782±0.054 |
| SC-LSTM | 0.941±0.032 | 0.996±0.005 | 0.986±0.027 | 0.897±0.071 | 0.937±0.037 |

Additional Table 107

Leave one patient out cross validation results (Expert B)

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.821±0.036 | 0.966±0.010 | 0.998±0.035 | 0.738±0.085 | 0.849±0.045 |
| CNN-LSTM | 0.915±0.018 | 0.989±0.011 | 0.864±0.039 | 0.966±0.028 | 0.919±0.017 |
| ResNet50 | 0.923±0.030 | 0.982±0.008 | 0.879±0.058 | 0.983±0.039 | 0.928±0.027 |
| STFFDA | 0.747±0.115 | 0.909±0.051 | 0.791±0.190 | 0.748±0.278 | 0.715±0.215 |
| CWT-DCNN | 0.762±0.047 | 0.848±0.050 | 0.780±0.060 | 0.735±0.077 | 0.754±0.051 |
| SC-LSTM | 0.946±0.023 | 0.995±0.004 | 0.989±0.015 | 0.901±0.044 | 0.943±0.025 |

Additional Table 108

Leave one patient out cross validation results (Expert C)

| Methods | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| CNN | 0.761±0.076 | 0.994±0.034 | 0.999±0.155 | 0.517±0.157 | 0.682±0.151 |
| CNN-LSTM | 0.923±0.024 | 0.969±0.052 | 0.903±0.021 | 0.949±0.008 | 0.926±0.011 |
| ResNet50 | 0.932±0.032 | 0.983±0.012 | 0.918±0.046 | 0.949±0.045 | 0.933±0.030 |
| STFFDA | 0.874±0.030 | 0.950±0.017 | 0.881±0.048 | 0.868±0.055 | 0.873±0.032 |
| CWT-DCNN | 0.779±0.060 | 0.870±0.039 | 0.778±0.073 | 0.798±0.073 | 0.783±0.046 |
| SC-LSTM | 0.947±0.024 | 0.996±0.004 | 0.994±0.014 | 0.899±0.051 | 0.943±0.027 |

Additional Table 109

Statistical significance of AUC difference between SC-LSTM and other methods in LOPOCV evaluation (Expert A)

| Methods | p-value |
| --- | --- |
| CNN | 2.63E-07 |
| CNN-LSTM | 3.77E-10 |
| ResNet50 | 4.48E-08 |
| STFFDA | 2.17E-11 |
| CWT-DCNN | 1.82E-12 |

Additional Table 110

Statistical significance of AUC difference between SC-LSTM and other methods in LOPOCV evaluation (Expert B)

| Methods | p-value |
| --- | --- |
| CNN | 1.60E-10 |
| CNN-LSTM | 5.03E-09 |
| ResNet50 | 5.72E-08 |
| STFFDA | 3.71E-08 |
| CWT-DCNN | 2.65E-09 |

Additional Table 111

Statistical significance of AUC difference between SC-LSTM and other methods in LOPOCV evaluation (Expert C)

| Methods | p-value |
| --- | --- |
| CNN | 3.49E-06 |
| CNN-LSTM | 1.82E-12 |
| ResNet50 | 3.70E-09 |
| STFFDA | 2.38E-12 |
| CWT-DCNN | 4.17E-12 |

Additional Table 112

Statistical analysis of the standard deviation of AUC for five-fold cross validation results

| Method | Avg | Min | 25% | 50% | 75% | Max |
| --- | --- | --- | --- | --- | --- | --- |
| CNN | 0.016 | 0.003 | 0.007 | 0.011 | 0.021 | 0.064 |
| CNN-LSTM | 0.039 | 0.006 | 0.013 | 0.019 | 0.057 | 0.161 |
| ResNet50 | 0.021 | 0.004 | 0.012 | 0.018 | 0.027 | 0.045 |
| STFFDA | 0.017 | 0.004 | 0.008 | 0.013 | 0.022 | 0.063 |
| CWT-DCNN | 0.029 | 0.010 | 0.018 | 0.025 | 0.038 | 0.071 |
| SC-LSTM | 0.013 | 0.001 | 0.005 | 0.011 | 0.021 | 0.032 |

Additional Table 113

Results of ablation study (Expert=A)

| Methods | ACC | AUC | Precision | Recall | F1 |
| --- | --- | --- | --- | --- | --- |
| Ablation 1 | 0.897±0.013 | 0.975±0.008 | 0.957±0.059 | 0.839±0.058 | 0.891±0.014 |
| Ablation 2 | 0.925±0.006 | 0.982±0.005 | 0.968±0.012 | 0.879±0.023 | 0.921±0.008 |
| Ablation 3 | 0.922±0.005 | 0.983±0.006 | 0.972±0.018 | 0.869±0.018 | 0.917±0.005 |
| SC-LSTM | 0.956±0.004 | 0.993±0.001 | 0.990±0.006 | 0.921±0.006 | 0.954±0.004 |

Additional Table 114

Results of ablation study (Expert=B)

| Methods | ACC | AUC | Precision | Recall | F1 |
| --- | --- | --- | --- | --- | --- |
| Ablation 1 | 0.895±0.018 | 0.969±0.006 | 0.904±0.064 | 0.894±0.054 | 0.895±0.014 |
| Ablation 2 | 0.919±0.007 | 0.981±0.005 | 0.940±0.041 | 0.899±0.051 | 0.917±0.010 |
| Ablation 3 | 0.927±0.005 | 0.982±0.004 | 0.964±0.021 | 0.887±0.023 | 0.923±0.006 |
| SC-LSTM | 0.948±0.006 | 0.991±0.001 | 0.989±0.003 | 0.906±0.012 | 0.946±0.007 |

Additional Table 115

Results of ablation study (Expert=C)

| Methods | ACC | AUC | Precision | Recall | F1 |
| --- | --- | --- | --- | --- | --- |
| Ablation 1 | 0.905±0.025 | 0.984±0.003 | 0.948±0.077 | 0.869±0.071 | 0.901±0.023 |
| Ablation 2 | 0.932±0.004 | 0.985±0.002 | 0.973±0.005 | 0.887±0.011 | 0.928±0.005 |
| Ablation 3 | 0.932±0.006 | 0.985±0.004 | 0.976±0.015 | 0.886±0.025 | 0.928±0.008 |
| SC-LSTM | 0.954±0.009 | 0.994±0.001 | 0.991±0.002 | 0.916±0.020 | 0.952±0.010 |

Additional Table 116

Simulated single channel data loss experiment results (Expert=A)

| Channel | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| Fp2-F4 | 0.928±0.007 | 0.986±0.004 | 0.987±0.014 | 0.866±0.020 | 0.923±0.009 |
| F4-C4 | 0.896±0.030 | 0.980±0.005 | 0.994±0.004 | 0.797±0.062 | 0.883±0.039 |
| C4-P4 | 0.930±0.009 | 0.984±0.004 | 0.980±0.008 | 0.877±0.024 | 0.925±0.011 |
| P4-O2 | 0.926±0.014 | 0.983±0.005 | 0.988±0.005 | 0.862±0.026 | 0.921±0.016 |
| Fp1-F3 | 0.927±0.008 | 0.985±0.003 | 0.980±0.008 | 0.872±0.019 | 0.923±0.009 |
| F3-C3 | 0.924±0.002 | 0.980±0.005 | 0.980±0.017 | 0.865±0.015 | 0.919±0.002 |
| C3-P3 | 0.921±0.005 | 0.984±0.004 | 0.986±0.006 | 0.854±0.014 | 0.915±0.007 |
| P3-O1 | 0.924±0.010 | 0.981±0.003 | 0.983±0.004 | 0.862±0.021 | 0.918±0.012 |
| Fp2-F8 | 0.917±0.007 | 0.981±0.005 | 0.984±0.009 | 0.849±0.022 | 0.911±0.009 |
| F8-T4 | 0.912±0.004 | 0.982±0.004 | 0.987±0.003 | 0.835±0.007 | 0.905±0.005 |
| T4-T6 | 0.933±0.007 | 0.986±0.003 | 0.987±0.004 | 0.877±0.015 | 0.929±0.008 |
| T6-O2 | 0.892±0.016 | 0.981±0.005 | 0.992±0.005 | 0.791±0.035 | 0.880±0.020 |
| Fp1-F7 | 0.934±0.013 | 0.986±0.005 | 0.975±0.011 | 0.891±0.031 | 0.931±0.014 |
| F7-T3 | 0.914±0.023 | 0.984±0.004 | 0.993±0.007 | 0.833±0.050 | 0.905±0.027 |
| T3-T5 | 0.933±0.012 | 0.986±0.004 | 0.974±0.016 | 0.891±0.037 | 0.930±0.015 |
| T5-O1 | 0.916±0.011 | 0.985±0.004 | 0.986±0.008 | 0.844±0.025 | 0.909±0.013 |
| Fz-Cz | 0.940±0.008 | 0.989±0.004 | 0.989±0.006 | 0.889±0.021 | 0.936±0.009 |
| Cz-Pz | 0.937±0.005 | 0.983±0.005 | 0.946±0.026 | 0.929±0.030 | 0.936±0.006 |
| Average | 0.922±0.006 | 0.984±0.003 | 0.983±0.005 | 0.860±0.016 | 0.917±0.007 |
| Undamaged | 0.956±0.004 | 0.993±0.001 | 0.990±0.006 | 0.921±0.006 | 0.954±0.004 |

Additional Table 117

Simulated single channel data loss experiment results (Expert=B)

| Channel | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| Fp2-F4 | 0.926±0.011 | 0.982±0.003 | 0.978±0.011 | 0.871±0.024 | 0.921±0.012 |
| F4-C4 | 0.890±0.026 | 0.977±0.002 | 0.980±0.009 | 0.796±0.058 | 0.877±0.033 |
| C4-P4 | 0.909±0.008 | 0.973±0.006 | 0.950±0.019 | 0.862±0.005 | 0.904±0.007 |
| P4-O2 | 0.924±0.009 | 0.982±0.004 | 0.968±0.015 | 0.877±0.033 | 0.920±0.012 |
| Fp1-F3 | 0.920±0.012 | 0.981±0.003 | 0.972±0.014 | 0.864±0.031 | 0.915±0.014 |
| F3-C3 | 0.921±0.010 | 0.981±0.004 | 0.974±0.013 | 0.864±0.025 | 0.915±0.012 |
| C3-P3 | 0.911±0.005 | 0.983±0.004 | 0.974±0.018 | 0.845±0.023 | 0.905±0.007 |
| P3-O1 | 0.925±0.006 | 0.982±0.005 | 0.977±0.013 | 0.870±0.014 | 0.920±0.007 |
| Fp2-F8 | 0.912±0.010 | 0.982±0.003 | 0.980±0.005 | 0.841±0.023 | 0.905±0.013 |
| F8-T4 | 0.912±0.012 | 0.980±0.004 | 0.982±0.008 | 0.838±0.023 | 0.904±0.014 |
| T4-T6 | 0.918±0.008 | 0.984±0.003 | 0.979±0.009 | 0.854±0.010 | 0.912±0.009 |
| T6-O2 | 0.908±0.017 | 0.980±0.004 | 0.981±0.013 | 0.832±0.042 | 0.900±0.021 |
| Fp1-F7 | 0.925±0.006 | 0.984±0.002 | 0.974±0.017 | 0.873±0.018 | 0.921±0.006 |
| F7-T3 | 0.895±0.016 | 0.982±0.004 | 0.984±0.010 | 0.803±0.041 | 0.884±0.021 |
| T3-T5 | 0.926±0.004 | 0.984±0.002 | 0.977±0.017 | 0.873±0.018 | 0.922±0.004 |
| T5-O1 | 0.907±0.011 | 0.982±0.003 | 0.978±0.012 | 0.833±0.027 | 0.899±0.013 |
| Fz-Cz | 0.931±0.005 | 0.988±0.003 | 0.983±0.008 | 0.877±0.013 | 0.927±0.006 |
| Cz-Pz | 0.928±0.013 | 0.980±0.009 | 0.920±0.044 | 0.942±0.036 | 0.929±0.011 |
| Average | 0.916±0.004 | 0.981±0.002 | 0.973±0.008 | 0.857±0.011 | 0.910±0.005 |
| Undamaged | 0.948±0.006 | 0.991±0.001 | 0.989±0.003 | 0.906±0.012 | 0.946±0.007 |

Additional Table 118

Simulated single channel data loss experiment results (Expert=C)

| Channel | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| Fp2-F4 | 0.939±0.007 | 0.986±0.004 | 0.983±0.011 | 0.894±0.022 | 0.936±0.008 |
| F4-C4 | 0.893±0.025 | 0.982±0.006 | 0.993±0.002 | 0.790±0.051 | 0.879±0.032 |
| C4-P4 | 0.931±0.009 | 0.985±0.005 | 0.982±0.008 | 0.877±0.024 | 0.926±0.010 |
| P4-O2 | 0.925±0.016 | 0.984±0.005 | 0.985±0.007 | 0.863±0.035 | 0.920±0.018 |
| Fp1-F3 | 0.933±0.005 | 0.986±0.005 | 0.989±0.006 | 0.875±0.011 | 0.928±0.005 |
| F3-C3 | 0.919±0.015 | 0.982±0.006 | 0.990±0.008 | 0.846±0.031 | 0.912±0.018 |
| C3-P3 | 0.919±0.014 | 0.985±0.003 | 0.985±0.007 | 0.851±0.028 | 0.913±0.016 |
| P3-O1 | 0.912±0.008 | 0.983±0.003 | 0.988±0.004 | 0.834±0.018 | 0.904±0.010 |
| Fp2-F8 | 0.927±0.010 | 0.985±0.004 | 0.987±0.004 | 0.864±0.021 | 0.921±0.011 |
| F8-T4 | 0.910±0.020 | 0.982±0.005 | 0.983±0.012 | 0.834±0.049 | 0.902±0.024 |
| T4-T6 | 0.937±0.014 | 0.987±0.005 | 0.989±0.009 | 0.884±0.035 | 0.933±0.016 |
| T6-O2 | 0.915±0.011 | 0.984±0.003 | 0.985±0.007 | 0.842±0.025 | 0.908±0.013 |
| Fp1-F7 | 0.937±0.012 | 0.986±0.005 | 0.982±0.006 | 0.889±0.026 | 0.933±0.014 |
| F7-T3 | 0.911±0.015 | 0.985±0.004 | 0.991±0.008 | 0.829±0.036 | 0.902±0.018 |
| T3-T5 | 0.934±0.010 | 0.987±0.003 | 0.989±0.005 | 0.877±0.020 | 0.930±0.011 |
| T5-O1 | 0.915±0.011 | 0.984±0.002 | 0.991±0.005 | 0.838±0.021 | 0.908±0.013 |
| Fz-Cz | 0.938±0.009 | 0.989±0.004 | 0.991±0.005 | 0.883±0.020 | 0.934±0.010 |
| Cz-Pz | 0.937±0.013 | 0.982±0.013 | 0.934±0.040 | 0.942±0.026 | 0.937±0.012 |
| Average | 0.924±0.010 | 0.985±0.004 | 0.984±0.003 | 0.862±0.020 | 0.918±0.011 |
| Undamaged | 0.954±0.009 | 0.994±0.001 | 0.991±0.002 | 0.916±0.020 | 0.952±0.010 |

Additional Table 119

Noise perturbation experiment results (Expert=A)

| Channel | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| Fp2-F4 | 0.921±0.017 | 0.986±0.002 | 0.984±0.014 | 0.857±0.045 | 0.915±0.020 |
| F4-C4 | 0.907±0.017 | 0.979±0.003 | 0.881±0.050 | 0.945±0.032 | 0.910±0.013 |
| C4-P4 | 0.933±0.011 | 0.985±0.001 | 0.972±0.021 | 0.893±0.036 | 0.930±0.013 |
| P4-O2 | 0.798±0.038 | 0.978±0.003 | 0.716±0.040 | 0.992±0.003 | 0.831±0.027 |
| Fp1-F3 | 0.924±0.018 | 0.982±0.003 | 0.968±0.012 | 0.877±0.036 | 0.920±0.021 |
| F3-C3 | 0.779±0.040 | 0.974±0.005 | 0.699±0.040 | 0.987±0.005 | 0.818±0.026 |
| C3-P3 | 0.923±0.009 | 0.981±0.004 | 0.960±0.012 | 0.882±0.017 | 0.919±0.010 |
| P3-O1 | 0.801±0.054 | 0.966±0.009 | 0.726±0.067 | 0.984±0.013 | 0.834±0.038 |
| Fp2-F8 | 0.915±0.013 | 0.978±0.004 | 0.969±0.008 | 0.857±0.027 | 0.909±0.015 |
| F8-T4 | 0.885±0.042 | 0.976±0.005 | 0.836±0.065 | 0.966±0.019 | 0.895±0.032 |
| T4-T6 | 0.928±0.011 | 0.985±0.002 | 0.973±0.005 | 0.880±0.021 | 0.924±0.012 |
| T6-O2 | 0.837±0.046 | 0.962±0.012 | 0.771±0.063 | 0.971±0.012 | 0.858±0.034 |
| Fp1-F7 | 0.877±0.023 | 0.983±0.003 | 0.993±0.005 | 0.758±0.049 | 0.859±0.032 |
| F7-T3 | 0.922±0.013 | 0.984±0.001 | 0.889±0.025 | 0.965±0.013 | 0.925±0.011 |
| T3-T5 | 0.881±0.016 | 0.984±0.003 | 0.993±0.005 | 0.766±0.033 | 0.864±0.020 |
| T5-O1 | 0.889±0.010 | 0.982±0.001 | 0.829±0.018 | 0.980±0.009 | 0.898±0.008 |
| Fz-Cz | 0.946±0.007 | 0.990±0.002 | 0.986±0.006 | 0.904±0.010 | 0.943±0.007 |
| Cz-Pz | 0.946±0.007 | 0.990±0.002 | 0.986±0.006 | 0.904±0.010 | 0.943±0.007 |
| Average | 0.889±0.015 | 0.980±0.003 | 0.896±0.022 | 0.909±0.014 | 0.894±0.010 |
| Undamaged | 0.956±0.004 | 0.993±0.001 | 0.990±0.006 | 0.921±0.006 | 0.954±0.004 |

Additional Table 120

Noise perturbation experiment results (Expert=B)

| Channel | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| Fp2-F4 | 0.893±0.022 | 0.982±0.002 | 0.987±0.006 | 0.796±0.049 | 0.880±0.029 |
| F4-C4 | 0.915±0.016 | 0.975±0.005 | 0.905±0.032 | 0.929±0.011 | 0.916±0.014 |
| C4-P4 | 0.902±0.023 | 0.980±0.002 | 0.977±0.009 | 0.823±0.053 | 0.892±0.029 |
| P4-O2 | 0.839±0.024 | 0.974±0.007 | 0.763±0.026 | 0.984±0.006 | 0.859±0.019 |
| Fp1-F3 | 0.908±0.015 | 0.975±0.010 | 0.963±0.022 | 0.849±0.028 | 0.902±0.017 |
| F3-C3 | 0.835±0.025 | 0.969±0.007 | 0.761±0.030 | 0.978±0.008 | 0.856±0.018 |
| C3-P3 | 0.901±0.019 | 0.974±0.013 | 0.947±0.034 | 0.849±0.026 | 0.895±0.019 |
| P3-O1 | 0.808±0.038 | 0.969±0.004 | 0.729±0.041 | 0.984±0.005 | 0.837±0.026 |
| Fp2-F8 | 0.880±0.023 | 0.974±0.004 | 0.974±0.011 | 0.780±0.051 | 0.865±0.029 |
| F8-T4 | 0.894±0.027 | 0.972±0.005 | 0.851±0.047 | 0.960±0.019 | 0.901±0.022 |
| T4-T6 | 0.899±0.020 | 0.979±0.003 | 0.974±0.011 | 0.820±0.048 | 0.890±0.025 |
| T6-O2 | 0.847±0.037 | 0.962±0.008 | 0.782±0.046 | 0.969±0.017 | 0.864±0.026 |
| Fp1-F7 | 0.837±0.035 | 0.978±0.003 | 0.990±0.011 | 0.680±0.078 | 0.803±0.048 |
| F7-T3 | 0.901±0.032 | 0.980±0.003 | 0.922±0.069 | 0.888±0.089 | 0.898±0.037 |
| T3-T5 | 0.842±0.032 | 0.980±0.003 | 0.989±0.008 | 0.692±0.071 | 0.812±0.045 |
| T5-O1 | 0.900±0.032 | 0.979±0.002 | 0.864±0.058 | 0.956±0.015 | 0.906±0.026 |
| Fz-Cz | 0.934±0.005 | 0.989±0.002 | 0.984±0.011 | 0.883±0.019 | 0.930±0.006 |
| Cz-Pz | 0.934±0.005 | 0.989±0.002 | 0.984±0.011 | 0.883±0.019 | 0.930±0.006 |
| Average | 0.882±0.009 | 0.977±0.003 | 0.908±0.019 | 0.872±0.025 | 0.880±0.011 |
| Undamaged | 0.948±0.006 | 0.991±0.001 | 0.989±0.003 | 0.906±0.012 | 0.946±0.007 |

Additional Table 121

Noise perturbation experiment results (Expert=C)

| Channel | ACC | AUC | Precision | Recall | F1-Score |
| --- | --- | --- | --- | --- | --- |
| Fp2-F4 | 0.928±0.007 | 0.986±0.004 | 0.987±0.014 | 0.866±0.020 | 0.923±0.009 |
| F4-C4 | 0.896±0.030 | 0.980±0.005 | 0.994±0.004 | 0.797±0.062 | 0.883±0.039 |
| C4-P4 | 0.930±0.009 | 0.984±0.004 | 0.980±0.008 | 0.877±0.024 | 0.925±0.011 |
| P4-O2 | 0.926±0.014 | 0.983±0.005 | 0.988±0.005 | 0.862±0.026 | 0.921±0.016 |
| Fp1-F3 | 0.927±0.008 | 0.985±0.003 | 0.980±0.008 | 0.872±0.019 | 0.923±0.009 |
| F3-C3 | 0.924±0.002 | 0.980±0.005 | 0.980±0.017 | 0.865±0.015 | 0.919±0.002 |
| C3-P3 | 0.921±0.005 | 0.984±0.004 | 0.986±0.006 | 0.854±0.014 | 0.915±0.007 |
| P3-O1 | 0.924±0.010 | 0.981±0.003 | 0.983±0.004 | 0.862±0.021 | 0.918±0.012 |
| Fp2-F8 | 0.917±0.007 | 0.981±0.005 | 0.984±0.009 | 0.849±0.022 | 0.911±0.009 |
| F8-T4 | 0.912±0.004 | 0.982±0.004 | 0.987±0.003 | 0.835±0.007 | 0.905±0.005 |
| T4-T6 | 0.933±0.007 | 0.986±0.003 | 0.987±0.004 | 0.877±0.015 | 0.929±0.008 |
| T6-O2 | 0.892±0.016 | 0.981±0.005 | 0.992±0.005 | 0.791±0.035 | 0.880±0.020 |
| Fp1-F7 | 0.934±0.013 | 0.986±0.005 | 0.975±0.011 | 0.891±0.031 | 0.931±0.014 |
| F7-T3 | 0.914±0.023 | 0.984±0.004 | 0.993±0.007 | 0.833±0.050 | 0.905±0.027 |
| T3-T5 | 0.933±0.012 | 0.986±0.004 | 0.974±0.016 | 0.891±0.037 | 0.930±0.015 |
| T5-O1 | 0.916±0.011 | 0.985±0.004 | 0.986±0.008 | 0.844±0.025 | 0.909±0.013 |
| Fz-Cz | 0.940±0.008 | 0.989±0.004 | 0.989±0.006 | 0.889±0.021 | 0.936±0.009 |
| Cz-Pz | 0.940±0.008 | 0.989±0.004 | 0.989±0.006 | 0.889±0.021 | 0.936±0.009 |
| Average | 0.923±0.006 | 0.984±0.004 | 0.985±0.005 | 0.858±0.016 | 0.917±0.007 |
| Undamaged | 0.954±0.009 | 0.994±0.001 | 0.991±0.002 | 0.916±0.020 | 0.952±0.010 |